## Sheet1
Part # | Description | Victaulic Equivalent
52867515 | STAD* Manual Balancing Valve, Female NPT, 1/2" | V004787HBV
52867520 | STAD* Manual Balancing Valve, Female NPT, 3/4" | V006787HBV
52867525 | STAD* Manual Balancing Valve, Female NPT, 1" | V010787HBV
52867532 | STAD* Manual Balancing Valve, Female NPT, 1 1/4" | V012787HBV
52867540 | STAD* Manual Balancing Valve, Female NPT, 1 1/2" | V014787HBV
52867550 | STAD* Manual Balancing Valve, Female NPT, 2" | V020787HBV
52867715 | STAD* Manual Balancing Valve, Female NPT, 1/2" with UNS Drain Kit | V004787HDV
52867720 | STAD* Manual Balancing Valve, Female NPT, 3/4" with UNS Drain Kit | V006787HDV
52867725 | STAD* Manual Balancing Valve, Female NPT, 1" with UNS Drain Kit | V010787HDV
52867732 | STAD* Manual Balancing Valve, Female NPT, 1 1/4" with UNS Drain Kit | V012787HDV
52867740 | STAD* Manual Balancing Valve, Female NPT, 1 1/2" with UNS Drain Kit | V014787HDV
52867750 | STAD* Manual Balancing Valve, Female NPT, 2" with UNS Drain Kit | V020787HDV
52867915 | STAS Manual Balancing Valve, SWT 1/2"
52867920 | STAS Manual Balancing Valve, SWT 3/4"
52867925 | STAS Manual Balancing Valve, SWT 1"
52867932 | STAS Manual Balancing Valve, SWT 1 1/4"
52867940 | STAS Manual Balancing Valve, SWT 1 1/2"
52867950 | STAS Manual Balancing Valve, SWT 2"
52167965 | 2 1/2 CBV 788 DI FLG END P/N ~52-167-965 | V024788CBV
52167980 | 3 CBV 788 DI FLG END P/N ~52-167-980 | V030788CBV
52167990 | 4 CBV 788 DI FLG END P/N ~52-167-990 | V040788CBV
52167991 | 5 CBV 788 DI FLG END P/N ~52-167-991 | V050788CBV
52167992 | 6 CBV 788 DI FLG END P/N ~52-167-992 | V060788CBV
52167993 | 8 CBV 788 DI FLG END P/N ~52-167-993 | V080788CBV
52167994 | 10 CBV 788 DI FLG END P/N ~52-167-994 | V100788CBV
52167995 | 12 CBV 788 DI FLG END P/N ~52-167-995 | V120788CBV
52182996 | STAF SG DN 350(14") USA CLASS 150 ~P/N 52 182-966 | V140788CBV
52182997 | STAF SG DN 400 (16") USA CLASS 150 ~P/N 52 182-997 | V160788CBV
52167073 | 2 1/2 CBV 789 DI GRV END P/N ~52-167-073 | V024789CBV
52167089 | 3 CBV 789 DI GRV END P/N ~52-167-089 | V030789CBV
52167114 | 4 CBV 789 DI GRV END P/N ~52-167-114 | V040789CBV
52167141 | 5 CBV 789 DI GRV END P/N ~52-167-141 | V050789CBV
52167168 | 6 CBV 789 DI GRV END P/N ~52-167-168 | V060789CBV
52167219 | 8 CBV 789 DI GRV END P/N ~52-167-219 | V080789CBV
52167273 | 10 CBV 789 DI GRV END P/N ~52-167-273 | V100789CBV
52167324 | 12 CBV 789 DI GRV END P/N ~52-167-324 | V120789CBV
52266015 | STAP 1/2" USA 10-60 kPa ~52266015 | V004793CBV
52266020 | STAP 3/4" USA 10-60 kPa ~52266020 | V006793CBV
52266025 | STAP 1" USA 10-60 kPa ~52266025 | V010793CBV
52266032 | STAP 1 1/4" USA (20-80 kPa) ~52266032 | V012793CBV
52266040 | STAP 1 1/2" USA (20-80 kPa) ~52266040 | V014793CBV
52266050 | STAP 2" USA 20-80 kPa ~52266050 | V020793CBV
52266065 | STAP 2 1/2" USA ANSI 150 20-80 kPa ~52266065 | V024794116
52266080 | STAP 3" USA ANSI 150 20-80 kPa ~52266080 | V030794116
52266090 | STAP 4" USA ANSI 150 20-80 kPa ~52266090 | V040794116
52266165 | STAP 2 1/2" USA ANSI 150 40-160 kPa ~52266165 | V024794223
52266180 | STAP 3" USA ANSI 150 40-160 kPa ~52266180 | V030794223
52266190 | STAP 4" USA ANSI 150 40-160 kPa ~52266190 | V040794223
52265901 | STAP 1 1/4"- 2" Handwheel | P012793HDW
52265900 | STAP 1/2"- 1" Handwheel | P004793HDW
30952001 | STAP 3" Handwheel | P024794HDW
52265902 | STAP Handwheel, 4" | P040794001
231212411065 | TA-PILOT-R 2-1/2" ANSI150 DpL=1-7 PSI (VICTAULIC) | V0247PR007
231212421065 | TA-PILOT-R 2-1/2" ANSI150 DpL=4-21 PSI (VICTAULIC) | V0247PR021
231212431065 | TA-PILOT-R 2-1/2" ANSI150 DpL=12-58 PSI (VICTAULIC) | V0247PR058
231212411080 | TA-PILOT-R 3" ANSI150 DpL=1-7 PSI (VICTAULIC) | V0307PR007
231212421080 | TA-PILOT-R 3" ANSI150 DpL=4-21 PSI (VICTAULIC) | V0307PR021
231212431080 | TA-PILOT-R 3" ANSI150 DpL=12-58 PSI (VICTAULIC) | V0307PR058
231212411100 | TA-PILOT-R 4" ANSI150 DpL=1-7 PSI (VICTAULIC) | V0407PR007
231212421100 | TA-PILOT-R 4" ANSI150 DpL=4-21 PSI (VICTAULIC) | V0407PR021
231212431100 | TA-PILOT-R 4" ANSI150 DpL=12-58 PSI (VICTAULIC) | V0407PR058
231212411125 | TA-PILOT-R 5" ANSI150 DpL=1-7 PSI (VICTAULIC) | V0507PR007
231212421125 | TA-PILOT-R 5" ANSI150 DpL=4-21 PSI (VICTAULIC) | V0507PR021
231212431125 | TA-PILOT-R 5" ANSI150 DpL=12-58 PSI (VICTAULIC) | V0507PR058
231212411150 | TA-PILOT-R 6" ANSI150 DpL=1-7 PSI (VICTAULIC) | V0607PR007
231212421150 | TA-PILOT-R 6" ANSI150 DpL=4-21 PSI (VICTAULIC) | V0607PR021
231212431150 | TA-PILOT-R 6" ANSI150 DpL=12-58 PSI (VICTAULIC) | V0607PR058
231212411200 | TA-PILOT-R 8" ANSI150 DpL=1-7 PSI (VICTAULIC) | V0807PR007
231212421200 | TA-PILOT-R 8" ANSI150 DpL=4-21 PSI (VICTAULIC) | V0807PR021
231212431200 | TA-PILOT-R 8" ANSI150 DpL=12-58 PSI (VICTAULIC) | V0807PR058
231242542001 | EXPANSION VESSEL - SET, PILOT-R | P0007PR0EV
231212411001 | PILOT-R 2 1/2"-8" DpL=1-7 PSI
231212421001 | PILOT-R 2 1/2"-8" DpL=4-21 PSI | P0007PR021
231212431001 | PILOT-R 2 1/2"-8" DpL=12-58 PSI | P0007PR058
231212412001 | PILOT-R 2 1/2"-8" HIGH-T DpL=1-7 PSI
231212422001 | PILOT-R 2 1/2"-8" HIGH-T DpL=4-21 PSI
231212432001 | PILOT-R 2 1/2"-8" HIGH-T DpL=12-58 PSI
231212321100 | TA-PILOT-R DN100 ANSI150 DpL=30-150kPa
231212321150 | TA-PILOT-R DN150 ANSI150 DpL=30-150kPa
231212321200 | TA-PILOT-R DN200 ANSI150 DpL=30-150kPa
52795020 | DA 516 DN15/20 PN25 Dp=5-30 | H0047DA030
52795025 | DA 516 DN25/32 PN25 Dp=5-30 | H0107DA030
52795040 | DA 516 DN40/50 PN25 Dp=5-30 | H0147DA030
52795120 | DA 516 DN15/20 PN25 Dp=10-60 | H0047DA060
52795125 | DA 516 DN25/32 PN25 Dp=10-60 | H0107DA060
52795140 | DA 516 DN40/50 PN25 Dp=10-60 | H0147DA060
52795220 | DA 516 DN15/20 PN25 Dp=10-100 | H0047DA100
52795225 | DA 516 DN25/32 PN25 Dp=10-100 | H0107DA100
52795240 | DA 516 DN40/50 PN25 Dp=10-100 | H0147DA100
52795320 | DA 516 DN15/20 PN25 Dp=60-150 | H0047DA150
52795325 | DA 516 DN25/32 PN25 Dp=60-150 | H0107DA150
52795340 | DA 516 DN40/50 PN25 Dp=60-150 | H0147DA150
52760340 | DA 516 DN40/50 PN25 Dp=10-100 (HT)
52760940 | DA 516 DN40/50 PN25 Dp=60-150 (HT)
52751311 | DA 516 & KTCM/KTM 512 END CONNECTION-FEMALE DN15 1/2" NPT | P0047DAF04
52751312 | DA 516 & KTCM/KTM 512 END CONNECTION-FEMALE DN20 3/4" NPT | P0047DAF06
52751307 | DA 516 & KTM 512 END CONNECTION-FEMALE DN25 1" NPT | P0107DAF10
52751308 | DA 516 & KTM 512 END CONNECTION-FEMALE DN32 1-1/4" NPT | P0107DAF12
52751309 | DA 516 & KTM 512 END CONNECTION-FEMALE DN40 1-1/2" NPT | P0147DAF14
52751310 | DA 516 & KTM 512 END CONNECTION-FEMALE DN50 2" NPT | P0207DAF20
52198715 | BPV Straight 10-60 kPA (1.45 psi - 8.7 psi) 1/2" | V004782BPV
52198720 | BPV Straight 10-60 kPA (1.45 psi - 8.7 psi) 3/4" | V006782BPV
52198725 | BPV Straight 10-60 kPA (1.45 psi - 8.7 psi) 1" | V010782BPV
52198732 | BPV Straight 10-60 kPA (1.45 psi - 8.7 psi) 1 1/4" | V012782BPV
52010004 | TA Link 40 kPa ~52 010 004 | V000736000
52010010 | TA Link 100 kPa ~52 010 010 | V000736001
52110010 | TA Link 4-20 Ma ~52 110 010
52199214 | TA SCOPE US ~52 199 214 | V000734002
52199014 | TA SCOPE Premium US ~52 199 014 | V000734000
52199114 | TA Scope HP Premium US ~52 199 114 | V000734001
52199931 | TA-SCOPE Dp SENSOR Unit- Standard | P000DPS000
52187004 | Spanner for measuring points, older valves, TA Scope
52199941 | Digital Temperature Sensor (DTS) | P000734006
52199314 | TA SCOPE US HP ~52 199 314 | V000734003
52199934 | TA-SCOPE Dp SENSOR Unit US- High Pressure ~52 199 934
31033860 | Measuring Hose with Fixed Needle, Red
31033861 | Measuring Hose with Fixed Needle, Blue
31039701 | DC Cable | P000734CBL
52199932 | TA-SCOPE Dp SENSOR Unit US- High Pressure ~52 199 932 | P000734009
52199971 | TA SCOPE DPS Visio Sensor Unit Standard ~52199971 | P000DPS001
52199972 | TA SCOPE DPS Visio Sensor Unit High Pressure ~52199972 | P000DPS002
31110001 | MULTI CHARGER NEW USB Version
31039702 | USB Cable to connect handheld to multicharger
31027802 | USB Cable to connect Handheld to DPS Visio, PC to DPS Visio and DPS Visio to Multi charger
31027801 | USB Cable to connect Handheld to PC or Handheld to old DPS (upto Aug 2017)
652240015 | TA BVS 240-Welding Ends PN 40, DN 15 | @0042400BV
652240020 | TA BVS 240-Welding Ends PN 40, DN 20 | @0062400BV
652240025 | TA BVS 240-Welding Ends PN 40, DN 25 | @0102400BV
652240032 | TA BVS 240-Welding Ends PN 40, DN 32
652240040 | TA BVS 240-Welding Ends PN 40, DN 40 | @0142400B1
652240050 | TA BVS 240-Welding Ends PN 40, DN 50 | @0202400BV
652240065 | TA BVS 240-Welding Ends PN 25, DN 65 | @0242400BV
652240080 | TA BVS 240-Welding Ends PN 25, DN 80 | @030240CBV
652240090 | TA BVS 240-Welding Ends PN 25, DN 100
652240091 | TA BVS 240-Welding Ends PN 25, DN 125
652240092 | TA BVS 240-Welding Ends PN 25, DN 150
652240093 | TA BVS 240-Welding Ends PN 25, DN 200
652240094 | TA BVS 240-Welding Ends PN 25, DN 250
652243015 | TA BVS 243-Flanged Ends PN 40, DN 15
652243020 | TA BVS 243-Flanged Ends PN 40, DN 20 | @006243CBV
652243025 | TA BVS 243-Flanged Ends PN 40, DN 25 | @010243CBV
652243032 | TA BVS 243-Flanged Ends PN 40, DN 32
652243040 | TA BVS 243-Flanged Ends PN 40, DN 40 | @0142430BV
652243050 | TA BVS 243-Flanged Ends PN 40, DN 50 | @020243CBV
652243065 | TA BVS 243-Flanged Ends PN 16, DN 65 | @024243CBV
652243080 | TA BVS 243-Flanged Ends PN 16, DN 80 | @0302430BV
652243090 | TA BVS 243-Flanged Ends PN 16, DN 100 | @040243BVS
652243091 | TA BVS 243-Flanged Ends PN 16, DN 125
652243092 | TA BVS 243-Flanged Ends PN 16, DN 150
652243093 | TA BVS 243-Flanged Ends PN 16, DN 200
652243094 | TA BVS 243-Flanged Ends PN 16, DN 250
652243265 | TA-BVS 243 – Flanged (PN25 Flanges) DN 65; PN body 25
652243280 | TA-BVS 243 – Flanged (PN25 Flanges) DN 80; PN body 25 | @030243CBV
652243290 | TA-BVS 243 – Flanged (PN25 Flanges) DN 100; PN body 25
652243291 | TA-BVS 243 – Flanged (PN25 Flanges) DN 125; PN body 25
652243292 | TA-BVS 243 – Flanged (PN25 Flanges) DN 150; PN body 25
652243293 | TA-BVS 243 – Flanged (PN25 Flanges) DN 200; PN body 25
652243294 | TA-BVS 243 – Flanged (PN25 Flanges) DN 250; PN body 25
652140015 | TA BVS 140-Welding Ends PN 40, DN 15
652140020 | TA BVS 140-Welding Ends PN 40, DN 20
652140025 | TA BVS 140-Welding Ends PN 40, DN 25
652140032 | TA BVS 140-Welding Ends PN 40, DN 32
652140040 | TA BVS 140-Welding Ends PN 40, DN 40
652140050 | TA BVS 140-Welding Ends PN 40, DN 50
652140065 | TA BVS 140-Welding Ends PN 25, DN 65
652140080 | TA BVS 140-Welding Ends PN 25, DN 80
652140090 | TA BVS 140-Welding Ends PN 25, DN 100
652140091 | TA BVS 140-Welding Ends PN 25, DN 125
652140092 | TA BVS 140-Welding Ends PN 25, DN 150
652140093 | TA BVS 140-Welding Ends PN 25, DN 200
652140094 | TA BVS 140-Welding Ends PN 25, DN 250
652143015 | TA BVS 143-Flanged Ends PN 40, DN 15
652143020 | TA BVS 143-Flanged Ends PN 40, DN 20
652143025 | TA BVS 143-Flanged Ends PN 40, DN 25
652143032 | TA BVS 143-Flanged Ends PN 40, DN 32
652143040 | TA BVS 143-Flanged Ends PN 40, DN 40
652143050 | TA BVS 143-Flanged Ends PN 40, DN 50
652143065 | TA BVS 143-Flanged Ends PN 16, DN 65
652143080 | TA BVS 143-Flanged Ends PN 16, DN 80
652143090 | TA BVS 143-Flanged Ends PN 16, DN 100
652143091 | TA BVS 143-Flanged Ends PN 16, DN 125
652143092 | TA BVS 143-Flanged Ends PN 16, DN 150
652143093 | TA BVS 143-Flanged Ends PN 16, DN 200
652143094 | TA BVS 143-Flanged Ends PN 16, DN 250
52167865 | VIC PREFAB INSULATION 2 1/2" | K024784INS
52167880 | VIC PREFAB INSULATION 3" | K030784INS
52167890 | VIC PREFAB INSULATION 4" | K040784INS
52167892 | VIC PREFAB INSULATION 6" | K060784INS
52265250 | PREFAB INSULATION STAP 32-50 | P012793INS
52167891 | VIC PREFAB INSULATION 5" | K050784INS
52189615 | ISOL. STAD/STAM
52189625 | ISOL. STAD/STAM
52189632 | ISOL. STAD/STAM
52189640 | ISOL. STAD/STAM
52189650 | ISOL. STAD/STAM
52189850 | ISOLERING STAF 50
52189865 | ISOLERING STAF 65 | K024784INS
52189880 | ISOLERING STAF 80 | K030784INS
52189890 | ISOLERING STAF 100 | K040784INS
52189891 | ISOLERING STAF 125 | K050784INS
52189892 | ISOLERING STAF 150 | K060784INS
52789392 | DAB 50 DN150 PN25 Dp=10-60
52789365 | DAB 50 DN 65, PN 25 DP=10-60 kPa
52789290 | DAB 50 PN 16 flanges DN 100, 130-250 kPa
52789550 | DAB 50 PN 25,DN50, 130-250 KPA | @020DAB50P
52789480 | DAB 50 PN 25,DN80, 50-150 KPA
52789450 | DAB 50 PN 25, DN50, 50-150 KPA
52789380 | DAB 50 DN 80, PN 25 DP=10-60 kPa
52789465 | DAB 50 PN 25,DN65, 50-150 KPA
52789565 | DAB 50 PN 25,DN65, 130-250 KPA
52789580 | DAB 50 PN 25,DN80, 130-250 KPA
52766390 | PM 512 DN100 PN 16 Fc=20
52766190 | PM 512 DN100 PN 25 Fc=20
52851020 | STAD* 20 Global
52851015 | STAD* 15 Global
52851025 | STAD* 25 Global
52851032 | STAD* 32 Global
52851040 | STAD* 40 Global
52851050 | STAD* 50 Global
52851520 | STAD 20 NPT Global
52851525 | STAD 25 NPT Global
52851550 | STAD 50 NPT Global
52182020 | STAF-SG BALANCING VALVE 20 PN16/25 | @006TAFCBV
52182025 | STAF-SG BALANCING VALVE 25 PN16/25 | @010TAFCBV
52182050 | STAF-SG BALANCING VALVE 50 PN16/25 | @020STFBV1
52182065 | STAF-SG BALANCING VALVE 65 PN25
52182080 | STAF-SG BALANCING VALVE 80 PN25 | @030STFBV2
52182090 | STAF-SG BALANCING VALVE 100 PN25
52182091 | STAF-SG BALANCING VALVE 125 PN25
52182092 | STAF-SG BALANCING VALVE DN150 PN25
52182093 | STAF-SG BALANCING VALVE DN200 PN25
52182094 | STAF-SG BALANCING VALVE DN250 PN25
52182095 | STAF-SG BALANCING VALVE DN300 PN25
52182096 | STAF-SG BALANCING VALVE DN350 PN25
52182097 | STAF-SG BALANCING VALVE DN400 PN25
10053232 | O-RING EP QWAL A 4.3x2.4
10090003 | CARTON
10090017 | BOX 4000X170X320
30069802 | CHARGER CMI US
30758501 | BACKUP BATTERY
30763562 | ANGLE MEASURING NIPPLE COMPL. | P000738100
30776963 | MEASURING POINT CAP COMPLETE
30777101 | CAP HOLDER STAD RED | P000771101
30777102 | CAP HOLDER STAD BLUE | P000771102
30919401 | MEASURMENT UNIT CABLE 2100822100
30920601 | STRAINER CBI | P000734012
30921363 | CONE CBI COMPLETE | P00073MCBI
30921703 | MEASURING CABLE 3M CBI | P000737003
30922163 | PRESSURE GAUGE KPL
30925001 | BATTERY
31025301 | PCB DP SENSORUNIT
31025801 | KEYPAD CBX SENSOR UNIT
31034061 | DPN
52167811 | VIC MEASURING POINT 2 1/2"-12" | K000740002
52167812 | VIC MEASURING POINT 2 1/2"-12"L | K000740001
52167820 | VIC HANDWHEEL 1/2"-2" | P004784001
52167821 | VIC HANDWHEEL 2 1/2"-6" | P024784001
52167822 | VIC HANDWHEEL 8"-12" | P080784001
52179006 | MEASUREMENT POINT Extension 60 MM (2 pcs) | K000740012
52179007 | MEASUREMENT POINT OLD STAD/STAF, DN 65 | K000740606
52179015 | Measuring point STAD, STADA, STAM, L 103 mm | K000740010
52179016 | EXTENDED PREASURE POINT 71MM STAD | K000740008
52179986 | TRANSITION NIPPLE G 3/4 | @006793NPL
52199952 | SAFETY PT PROBE | P000734004
52199995 | MEASURING HOSE TA-SCOPE RED
52199996 | MEASURING HOSE TA-SCOPE BLUE
52199999 | DOUBLE HOSE TA-SCOPE | P000734013
52265206 | CAPILLARY PIPE CONNECT. W. SHUT-OFF | P000793002
52265212 | EXTENSION KIT FOR STAP CAPILLARY PIPE 6MM | K002793000
52265304 | ALLEN KEY 5MM FOR STAP | P030794KEY
52265305 | ALLEN KEY 3MM FOR STAP | P004793KEY
52266212 | EXTENSION KIT FOR STAP CAPILLARY 1/4"PIPE | K002793001
52199997 | Measuring Hose- Extension with shut-off valve- TA Scope, Red, 3 m | P000734001
52199998 | Measuring Hose- Extension with shut-off valve- TA Scope, Blue, 3 m | P000734002
52179200 | Measuring point, two-way, STAP for connection of capillary and PT port | P000793004
52161990 | RATING PLATE | P000786TAG
52265301 | CAPILLARY PIPE STAP DN 15-50 | P000793001
52265302 | Plug Venting STAP DN 15-50 | P000793007
10053203 | O-RING EP KVAL. A 91.5x5
10053227 | O-RING EP KVAL. A 16x3
10053233 | O-RING EP KVAL. A 5.3x2.4 | @S35788RNG
10053286 | O-RING EP KVAL.A 112,3x3 | P040788086
10053253 | O-RING EP KVAL.A 94,1x5,7
30950101 | Replacement spring for STAP DN 80, spring rating 40-160 Kpa | P080794005
52265225 | Insulation STAP DN 15-25 | P006793INS
52133100 | Adjustment Tool, TBV-C, TBV-CM, TBV-CMP | R000TBV000
52179014 | Measuring Point STAD Regular | K000740003
52199951 | TA Scope, Safety pressure probe (SPP) | P000734005
52179009 | Measuring Point STAF DN 20-50, L 39, D 1/4 | K000785012
52179987 | TRANSITION NIPPLE UNS 1 1/16x11.5 | P010793000
52762106 | Capillary connection set to STAD for DA, G 3/4 | @000STAD02
52265209 | Capillary pipe connection with shut-off, For connection of capillary pipe Ø6 mm to STAF/STAF-SG, G3/8 | @000516TA0
52179206 | Measuring point, two-way For connection of 6 mm copper pipe while permitting simultaneous use of TAs measuring or balancing instruments. | P000DA5160
52759203 | 6mm Capillary pipe that comes with 52 775-892, IMPULSE PIPE FI6/4 L=2500
30938202 | Transition Nipple STAP from Drain
52265201 | Draining Kit STAP G 1/2" | @004STAP00
52265202 | Draining Kit STAP G 3/4" | @006DRNKIT
52266202 | Draining Kit STAP UNS 1 1/16 X 11.5 | K006793000
30895360 | ELBOW BLACK BOX (TA Link Probe) | P000736010
30912901 | CONE (OLIVE) TO SUIT CHUCK FOR TA LINK | P000736001
30912801 | NUT TO SUIT CHUCK FOR TA LINK | P000736002
52186004 | Handwheel STAF/STAG 8"-16" (DN 200-400) | P080788HDW
30069801 | TA CMI Charger | @000CMI000
52199953 | Measuring Hose TA SCOPE for use with SPP and SPTP- Red -1.6 ft | P000734007
52199954 | Measuring Hose TA SCOPE for use with SPP and SPTP- Blue- 1.6 ft | P000734008
52186002 | Handwheel STAF/STAG 2 1/2"-6" (DN 65-150) | P024788HDW
52186003 | Handwheel STAF/STAG 3/4"- 2" (DN 20-50)
30974860 | Chucks for older valves and TA-BVS Red | P000734015
30974861 | Chucks for older valves and TA-BVS Blue | P000734016
52187103 | ALLEN KEY 3 MM | K000785004
52181002 | SERVICE KIT STAF 125-150 | K050788RBD
31003661 | P/T port cap with cap strap red
31003662 | P/T port cap with cap strap blue
52759220 | Venting Extension for PILOT-R, suitable when insulation is used | P0007PR0VE
52179000 | Measurement Point | K000788150
52762006 | Capillary connection set to STAD for DA, G 1/2
52179981 | TRANSITION NIPPLE G 1/2 | @004STAP01
31039603 | PRIMARY CHARGER CABLE US | P000734014
31039501 | MULTI CHARGER
31046462 | SPINDELTOPP MC55Y | @000MC5500
52185093 | BONNET COMPL. W.O HANDWHEEL 8"
31030661 | Cap + cap holder compl red | P004785001
31030662 | Cap + cap holder compl blue | P004785003
52179100 | MEASURING POINTS TWO-WAY
52181001 | SERVICE KIT STAF 65-100 | K024788RBD
52179990 | Drain KIT STAS ISO G 1/2 | @000STAD00
52179996 | Drain KIT STAS ISO G 3/4 | K000787001
52151001 | Service-kit O-ring- Presetting screw (10 O-rings, 1pcs inner spindle+ instruction), STAD DN 10-50 | @000SRVC00
52265219 | ACCESSORY BAG STAP USA CLASS 150 - Flanged Valves
52265217 | ACCESSORY BAG STAP NPT DN15-50 - Threaded Valves
52759225 | CONNECTION SET DA516 DN15-50 /STAD | @000STAD01
52181003 | SERVICE KIT STAF 200-250 | K080788RBD
52181004 | SERVICE KIT STAF 300 | K120788RBD
52181005 | SERVICE KIT STAF 350 | K140788RBD
52181006 | SERVICE KIT STAF 400 | K160788RBD
10058601 | Flat gasket (to the drain body when it sits on STAD)- Order 2 pcs
52759222 | Capillary Pipe CONNECTION PILOT-R for capillary 0.25in | P0007PRCPC
52266208 | Capillary Pipe connection with shut-off 3/8" (For replacement of existing measuring point on STAF/STAF-SG for TA-PILOT-R capillary 6mm only - Use capillary 52759215) | P0007PRG39
52179207 | Measuring point, two-way For connection of 0.25 in copper pipe while permitting simultaneous use of TAs measuring or balancing instruments. | P0007PRMP2
52759211 | Venting screw TA-PILOT-R | P0007PR0VS
52759201 | Capillary Pipe connection for 6 mm with R 1/4" for TA-PILOT-R | P000793010
52265208 | Capillary Pipe connection with shut-off 3/8" for 6mm capillary pipe | P0007PRG38
52759221 | Capillary Pipe for PILOT-R for US 0.25 IN | P0007PR0CP
31030901 | Cap and Cap Strap Red | P000000CSR
31030902 | Cap and Cap Strap Blue | P000000CSB
52167997 | Drain Kit UNS 1 1/16 for STAS 1/2"-2" | K000786CBV
15963 | SERTO CONNECTION for 1/4" capillary -11894 | P0007PRCON
31035501 | FLEXTUBE for wrapping SPTP cable and hose
52759213 | Serto CONNEC. 6-1/8" WITH 6 mm THROTTLE (SET) - PILOT 6 mm cap
31107461 | Measuring Hose TA SCOPE Starter Kit, Red | P000734010
31107460 | Measuring Hose TA SCOPE Starter Kit, Blue | P000734011
52265205 | Measuring Point STAP - G 1/16 | K000793002
10053273 | STAF Valve bonnet gasket dimension 74,5 x 3 mm
52187105 | ALLEN KEY 5 MM | K0007860AK
31106262 | Filter, spare part to measuring hose, 4 pcs | P000734020
31104001 | DC Cable DPS Visio | P000734018
31039901 | DPS1 Identification Ring
31039902 | DPS2 Identification Ring
52197303 | MEASUREMENT POINT CBI 1/2
52197304 | MEASUREMENT POINT CBI 3/4
30954401 | WASHER FILTER TA-CBI
31026702 | BATTERY TA SCOPE
31101060 | DPS2 BATTERY 18650
31101101 | TRANSITION BATTERY CABLE
52759215 | IMPULSE PIPE FI6/4 L=1200
52179008 | MEASUREMENT POINT - STAF DN 65-300, R3/8, L45
52179608 | MEASUREMENT POINT - STAF DN 65-300, R3/8, L101
10091202 | Box for 3" 52167089 STAG Valve
52133715 | 1/2" LF TBV-C with NPT Adapter | V0040TCL00
52134515 | 1/2" NF TBV-C NPT USA | V0040TCN00
52134520 | 3/4" NF TBV-C NPT USA | V0060TCN00
52134725 | 1" NF TBV-C with NPT Adapter | V0100TCN00
52143715 | 1/2" LF TBV-CM with NPT Adapter | V004TCML00
52144715 | 1/2" NF TBV-CM with NPT Adapter | V004TCMN00
52144720 | 3/4" NF TBV-CM with NPT Adapter | V006TCMN00
52144725 | 1" NF TBV-CM with NPT Adapter | V010TCMN00
52143100 | PROTECTION CAP TBV-C/TBV-CM | P000TCMCAP
52164010 | TA COMPACT-P 10 | V0037CP000
52164015 | TA COMPACT-P 15 | V0047CP000
52164115 | TA COMPACT-P 15 LF | V0047CPL00
52164020 | TA COMPACT-P 20 | V0067CP000
52164025 | TA COMPACT-P 25 | V0107CP000
52164032 | TA COMPACT-P 32 | V0127CP000
52164315 | TA MODULATOR 15 | V0047MP000
52164320 | TA MODULATOR 20 | V0067MP000
52164325 | TA MODULATOR 25 | V0107MP000
52164332 | TA MODULATOR 32 | V0127MP000
52164340 | TA Modulator DN40 | V0147MP000
52164350 | TA Modulator DN50 | V0207MP000
32202111004 | TA Modulator DN65, ANSI150 | V0247MP000
32202111104 | TA Modulator DN80, ANSI150 | V0307MP000
52164415 | TA MODULATOR 15 HP
52164420 | TA MODULATOR 20 HP
52164425 | TA MODULATOR 25 HP | @0107MP000
32202111206 | TA Modulator ANSI 150 4"
32202111207 | TA Modulator ANSI 150 4"HF
32202111306 | TA Modulator ANSI 150 5"
32202111307 | TA Modulator ANSI 150 5"HF
52163210 | NUT and NPT tailpiece 3/8" FNPT | @0037CPF01
52009710 | NUT and tailpiece 3/8" SWT
52163215 | NUT and NPT tailpiece 1/2" FNPT | P0047CPF04
52009715 | NUT and tailpiece 1/2" SWT | P0047CPS04
52163410 | NUT and NPT tailpiece 3/8" as 1/2" FNPT | P0037CPF04
52163320 | NUT and NPT tailpiece 3/4" as 1/2" FNPT | P0067CPF04
52163220 | NUT and NPT tailpiece 3/4" FNPT | P0067CPF06
52009720 | NUT and tailpiece 3/4" SWT | P0067CPS06
52163225 | NUT and NPT tailpiece 1" FNPT | P0107CPF10
52009725 | NUT and tailpiece 1" SWT | P0107CPS10
52163325 | NUT and NPT tailpiece 1" as 3/4" FNPT | P0107CPF06
52163332 | NUT and NPT tailpiece 1 1/4" as 1" FNPT | P0127CPF10
52163232 | NUT and NPT tailpiece 1 1/4"FNPT | P0127CPF12
52009732 | NUT and tailpiece 1 1/4"SWT | P0127CPS12
240002350 | ½”MNPTtailpiece, Nut and gasket | P0047CTM04
240003350 | ¾ ”MNPTtailpiece, Nut and gasket | P0067CTM06
240004350 | 1”MNPTtailpiece, Nut and gasket | P0107CTM10
52163240 | NUT and NPT tailpiece 1 1/2" FNPT | P0147MPF14
52163250 | NUT and NPT tailpiece 2" FNPT | P0207MPF20
52163340 | NUT and NPT tailpiece 1 1/2" as 1" FNPT | P0147MPF10
52163350 | NUT and NPT tailpiece 2" as 1 1/2" FNPT | P0207MPF14
52009740 | NUT and NPT tailpiece 1 1/2" SWT | P0147MPS14
52009750 | NUT and NPT tailpiece 2"SWT | P0207MPS20
10058006 | Gasket for 52163210(NUT, gasket and NPT tailpiece 3/8" FNPT) & 52009710(NUT, gasket and tailpiece 3/8" SWT)
10058007 | Gasket for 52163215(NUT, gasket and NPT tailpiece 1/2" FNPT) & 52009715(NUT, gasket and tailpiece 1/2" SWT) | P0047CPGSK
416002061 | Gasket for 240002350(NUT, gasket and NPT tailpiece 1/2" MNPT) | P0047CTGSK
10058008 | Gasket for 52163320(NUT, gasket and NPT tailpiece 3/4" as 1/2" FNPT) & 52163220(NUT, gasket and NPT tailpiece 3/4" FNPT) & 52009720(NUT, gasket and tailpiece 3/4" SWT) | P0067CPGSK
416003061 | Gasket for 240003350(NUT, gasket and NPT tailpiece 3/4" MNPT) | P0067CTGSK
10058009 | Gasket for 52163225(NUT, gasket and NPT tailpiece 1" FNPT) & 52009725(NUT, gasket and tailpiece 1" SWT) & 52163325(NUT, gasket and NPT tailpiece 1" as 3/4" FNPT) | P0107CPGSK
416004061 | Gasket for 240004350(NUT, gasket and NPT tailpiece 1" MNPT) | P0107CTGSK
10058010 | Gasket for 52163332(NUT, gasket and NPT tailpiece 1 1/4" as 1" FNPT), & 52163232(NUT, gasket and NPT tailpiece 1 1/4"FNPT), & Gasket for 52009732(NUT, gasket and tailpiece 1 1/4"SWT) | P0127CPGSK
52164901 | PREFAB ISOL. TA-COMPACT-P/MODULATOR DN10/15 (1/2"/3/8")
52164902 | PREFAB ISOL. TA-COMPACT-P/MODULATOR DN20 (3/4")
52164904 | PREFAB ISOL. TA-COMPACT-P/MODULATOR DN32 (1 1/4')
52164903 | PREFAB ISOL. TA-COMPACT-P/MODULATOR DN25 (1")
52164905 | PREFAB ISOL. TA-COMPACT-P/MODULATOR DN40 (1 1/2") | @0147MP000
52164906 | PREFAB ISOL. TA-COMPACT-P/MODULATOR DN50 (2")
22106001100 | TA-FUSION-C 4" | V0407FC000
22106001125 | TA-FUSION-C 5" | V0507FC000
22106001150 | TA-FUSION-C 6" | V0607FC000
22202003032 | TA FUSION-P Valve 1 1/4" NPT | V0127FP000
22202003040 | TA FUSION-P Valve 1 1/2" NPT | V0147FP000
22202003050 | TA FUSION-P Valve 2" NPT | V0207FP000
22202001065 | TA FUSION-P Valve 2 1/2" ANSI 150 | V0247FP000
22202001080 | TA FUSION-P Valve 3" ANSI 150 | V0307FP000
22202001100 | TA FUSION-P Valve 4" ANSI 150 | V0407FP000
22202001125 | TA FUSION-P Valve 5" ANSI 150 | V0507FP000
22202001150 | TA FUSION-P Valve 6" ANSI 150 | V0607FP000
32202021441 | TA-FUSION-P 6" HF ANSI 150 | V0607FPH00
22412001055 | Adapter for FUSION Threaded for MC series actuators | @0007FP000
22413001055 | Adapter for FUSION flanged for MC series actuators
22413001160 | Adapter for FUSION flanged 6" for MC series actuators
322041-20915 | Adapter for TA-SLIDER 500 for KTM 1/2"-2" (Included with valve)
52757026 | Adapter for TA-MC 100 FSE/FSR for KTM 1/2"-2"
52757907 | Adapter for TA-SLIDER 750/1250 for KTM 2 1/2"-5" | @024KTMADP
52757912 | Adapter for TA-MC 100 FSE/FSR for KTM 2 1/2" - 5"
32204280902 | Adapter for Slider 750 for Modulator DN40/50 | @000750ADP
52757033 | Adapter for JCI VA-715x, VA-720x, VA-774x for KTM 1/2"-2" | @000KTMADP
32204210700 | Adapter for MC 50-C to use on Modulator 1" and 1 1/4" for floating actuators
52757035 | KTM 1/2"-2" actuator adapter for MC55 | @024KTM00M
32204131404 | ADAPTER TA-MC253 SE (TA-FUSION DN 100-150) | P0607FPADP
32204280000 | Adapter TA Slider 500 for KTM 1/2"-2"
184302500 | EMO-T On-off actuator M 30 X 1.5, 24V, NC, 5 M cable (TBV-C) | P0000TCANC
184702500 | EMO-T On-off actuator M 30 X 1.5, 24V, NO, 5 M cable (TBV-C) | P0000TCANP
186802500 | EMO-TM Modulating Actuator M30 X 1.5, 24V, NC, 5 M cable(TBV-CM, TBV-CMP) | P000TCMANC
61015001 | TA MC-15/24 Actuator (DO NOT USE FOR COMPACT, TBV-C/M/P, KTCM) | @000MC1500
61015011 | TA MC-15/24-C Actuator (FOR USE WITH COMPACT, TBV-C/M/P, KTCM) | @000MC15C0
188000500 | EMO 3/24 Actuator, 3 POINT ACTUATOR, MECHANICAL | P000TCMAE3
61055001 | TA-MC55/24, Actuator | P0127FC00M
61055302 | TA-MC55/115, Actuator | P0127FC00N
61055003 | TA-MC55/Y, Actuator | P0127FC00P
61100001 | TA-MC100/24V, Actuator | P0127FC00Q
61100302 | TA-MC100/115, Actuator | P0127FC00R
61100101 | TA-MC100FSE/24, Actuator | P0127FC00S
61100201 | TA-MC100FSR/24, Actuator | P0127FC00T
61160001 | TA-MC160/24, Actuator | P0607FC00U
61160302 | TA-MC160/115, Actuator | P0607FC00V
67076100 | ACA76 Output signal: 0(4)-20 mA for MC100-MC163 | P0007FC001
61050011 | TA-MC50/24-C, Actuator, 500 N 3-point, 0(2)-10 V
183301500 | EMO-T On-off actuator M 30 X 1.5, 230V, NC, 2 M cable (TBV-C,TA-COMPACT-P)
61253101 | TA MC253/24 actuator fail safe SE 2,5kN 24VAC
61003021 | TA MC1003/24 actuator 10kN 24VAC for DN250
61100002 | TA-MC100/230V Actuator
32222410111 | TA-SLIDER 160 -Proportional-24 VAC/VDC-1 m-standard cable | P0007MPS11
32222410112 | TA-SLIDER 160 -Proportional-24 VAC/VDC-2 m-standard cable
32222410113 | TA-SLIDER 160 -Proportional-24 VAC/VDC-5 m-standard cable | P0007MPS10
32222410114 | TA-SLIDER 160 -Proportional-24 VAC/VDC-1 m-Halogen Free cable | P0007MPS14
32222410115 | TA-SLIDER 160 -Proportional-24 VAC/VDC-2 m-Halogen Free cable
32222410116 | TA-SLIDER 160 -Proportional-24 VAC/VDC-5 m-Halogen Free cable
32222410211 | TA-SLIDER 160 Plus-Proportional-24 VAC/VDC-1 m-standard cable
32222410212 | TA-SLIDER 160 Plus-Proportional-24 VAC/VDC-2 m-standard cable
32222410213 | TA-SLIDER 160 Plus-Proportional-24 VAC/VDC-5 m-standard cable | P0007MPS1P
32222410214 | TA-SLIDER 160 Plus-Proportional-24 VAC/VDC-1 m-Halogen Free cable
32222410215 | TA-SLIDER 160 Plus-Proportional-24 VAC/VDC-2 m-Halogen Free cable
32222410216 | TA-SLIDER 160 Plus-Proportional-24 VAC/VDC-5 m-Halogen Free cable
32222401001 | TA-SLIDER 160 KNX-1 m-standard cable
32222401002 | TA-SLIDER 160 KNX-2 m-standard cable
32222401003 | TA-SLIDER 160 KNX-3 m-standard cable | P0007MPS1K
32222401004 | TA-SLIDER 160 KNX-1 m-Halogen Free cable
32222401005 | TA-SLIDER 160 KNX-2 m-Halogen Free cable
32222401006 | TA-SLIDER 160 KNX-3 m-Halogen Free cable
32222510111 | TA-SLIDER 500 -Proportional-24 VAC/VDC-1 m-standard cable
32222510112 | TA-SLIDER 500 -Proportional-24 VAC/VDC-2 m-standard cable
32222510113 | TA-SLIDER 500 -Proportional-24 VAC/VDC-3 m-standard cable | P0007MPS50
32222510114 | TA-SLIDER 500 -Proportional-24 VAC/VDC-1 m-Halogen Free cable
32222510115 | TA-SLIDER 500 -Proportional-24 VAC/VDC-2 m-Halogen Free cable
32222510116 | TA-SLIDER 500 -Proportional-24 VAC/VDC-3 m-Halogen Free cable
32222510211 | TA-SLIDER 500 Plus-Proportional-24 VAC/VDC-1 m-standard cable
32222510212 | TA-SLIDER 500 Plus-Proportional-24 VAC/VDC-2 m-standard cable
32222510213 | TA-SLIDER 500 Plus-Proportional-24 VAC/VDC-3 m-standard cable | P0007MPS5P
32222510214 | TA-SLIDER 500 Plus-Proportional-24 VAC/VDC-1 m-Halogen Free cable
32222510215 | TA-SLIDER 500 Plus-Proportional-24 VAC/VDC-2 m-Halogen Free cable
32222510216 | TA-SLIDER 500 Plus-Proportional-24 VAC/VDC-3 m-Halogen Free cable
32222610110 | TA-SLIDER 750/24 -Proportional, 3-point-24 VAC/VDC | P0007FC070
32222610210 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-with no option board
32222612210 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-Modbus RS485
32222613210 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-BACnet RS-485
32222614210 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-Modbus/TCP
32222616210 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-BACnet/IP
32222610219 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-Relay
32222612219 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-Modbus RS485+Relay
32222613219 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-BACnet RS-485+Relay
32222614219 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-Modbus/TCP+Relay
32222616219 | TA-SLIDER 750/24 Plus-Proportional, 3-point-24 VAC/VDC-BACnet/IP+Relay
32222640110 | TA-SLIDER 750/HV -Proportional, 3-point-115/230 VAC
32222640210 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-with no option board
32222642210 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-Modbus RS485
32222643210 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-BACnet RS-485
32222644210 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-Modbus/TCP
32222646210 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-BACnet/IP
32222640219 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-Relay
32222642219 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-Modbus RS485+Relay
32222643219 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-BACnet RS-485+Relay
32222644219 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-Modbus/TCP+Relay
32222646219 | TA-SLIDER 750/HV Plus-Proportional, 3-point-115/230 VAC-BACnet/IP+Relay
32222710110 | TA-SLIDER 1250/24 -Proportional, 3-point-24 VAC/VDC
32222710210 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-with no option board
32222712210 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-Modbus RS485 | P0007FC06C
32222713210 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-BACnet RS-485 | P0007FC06D
32222714210 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-Modbus/TCP | P0007FC06E
32222716210 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-BACnet/IP | P0007FC06G
32222710219 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-Relay | P0007FC06A
32222712219 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-Modbus RS4-85+Relay | P0007FC06J
32222713219 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-BACnet RS-485+Relay | P0007FC06K
32222714219 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-Modbus/TCP+Relay | P0007FC06L
32222716219 | TA-SLIDER 1250/24 Plus-Proportional, 3-point-24 VAC/VDC-BACnet/IP+Relay | P0007FC06N
32222740110 | TA-SLIDER 1250/HV -Proportional, 3-point-115/230 VAC
32222740210 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-with no option board
32222742210 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-Modbus RS485 | P0007FC0FD
32222743210 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-BACnet RS-485 | P0007FC0FC
32222744210 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-Modbus/TCP | P0007FC0FE
32222746210 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-BACnet/IP | P0007FC0FG
32222740219 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-Relay | P0007FC0FA
32222742219 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-Modbus RS4-85+Relay | P0007FC0FJ
32222743219 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-BACnet RS-485+Relay | P0007FC0FK
32222744219 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-Modbus/TCP+Relay | P0007FC0FL
32222746219 | TA-SLIDER 1250/HV Plus-Proportional, 3-point-115/230 VAC-BACnet/IP+Relay | P0007FC0FN
32222800001 | Dongle | P0007MPDON
61015002 | TA MC-15/230V Actuator (DO NOT USE FOR COMPACT, TBV-C/M/P, KTCM)
61015012 | TA-MC15/230-C Actuator (Use with TBV-C/M, KTCM, COMPACT)
183300500 | EMO-T NC 230V actuator 0.8mm Cable
32222510411 | TA-Slider 500 I/O, with binary input, VDC Output, 1 m Cable | P0007MPS1I
32222510412 | TA-Slider 500 I/O, with binary input, VDC Output, 2 m Cable
32222510413 | TA-Slider 500 I/O, with binary input, VDC Output, 5 m Cable | P0007MPS5I
32222410411 | TA-SLIDER 160 I/O with binary input, VDC Output - 1m standard cable
32222410412 | TA-SLIDER 160 I/O with binary input, VDC Output - 2m standard cable
32222410413 | TA-SLIDER 160 I/O with binary input, VDC Output - 5m standard cable
61403001 | TA-MC403/24 Actuator, 24 VAC 3-point, 0(2)-10V, 4(0)-20 mA for DN 15-100
61503001 | TA-MC503/24 Actuator 24 VAC/DC 3-point, 0(2)-10V, 4(0)-20 mA for DN 125-150
61003001 | TA-MC1003/24 24 VAC 10,0 3-point, 0(2)-10V, 4(0)-20 mA for DN 65-100
61253001 | TA MC253/24 actuator 2,5kN 24VAC
61250402 | TA-MC250/24 actuator 24VDC, 2.5kn, 30MM, 3-point, 0(2)-10 V, 4(0)-20 Ma
185300500 | thermal actuator EMO T,NC 115V/0.8m Cable
61153011 | TA MC1503/24 actuator 15kN24VAC for DN125-200
32204200022 | TA MC 253SE/24 for use with FUSION HF DN 150 | P0607FP00S
32222413011 | TA Slider 160 BACNet
32222513011 | TA Slider 500 BACNet
32204280001 | Type A Cable
32204280004 | Type B Cable
32204280007 | Type C Cable
32222413513 | TA Slider 160 BACNet CO -5 m Relay Cable
61161001 | TA MC161/24 actuator 1,6kN 24VAC
32204290000 | TA M106 CO actuator (3-point) for TA 6-Way Valves
32220429000 | TA M 106 actuator 24VAC 3-point for TA 6-Way Valves
32222410513 | TA Slider 160 CO
183702500 | EMO-T NO 230V actuator 5m Cable
183302500 | EMO-T NC 230V actuator 5m Cable
61250002 | TA-MC250/230 actuator 230VAC, 2.5kn, 30MM, 3-point, 0(2)-10 V, 4(0)-20 Ma
61250012 | TA-MC250/230 actuator 230VAC, 2.5kn, 50MM, 3-point, 0(2)-10 V, 4(0)-20 Ma
32222513313 | TA Slider 500 BACNet with 5 m Cable, with binary input and 2 connections
52792320 | KTCM 512 NF DN 20 (Valve only, end connections and actuator separate) | @006KTCMNF
52795920 | KTCM 512 HF DN 20 (Valve only, end connections and actuator separate) | @006KTCMHF
52796220 | KTM 512 DN15/20 PN25 LF | @006KTM512
52796225 | KTM 512 DN25/32 PN25 LF | @010KTMH25
52796240 | KTM 512 DN40/50 PN25 LF | @020KTM512
52796020 | KTM 512 DN15/20 PN25 NF | @006KTMLFN
52796025 | KTM 512 DN25/32 PN25 NF
52796040 | KTM 512 DN40/50 PN25 NF
52796420 | KTM 512 DN15/20 PN25 HF
52796425 | KTM 512 DN25/32 PN25 HF
52796440 | KTM 512 DN40/50 PN25 HF
52764665 | KTM 512 DN65 ANSI 150 LF | @024KTM512
52764680 | KTM 512 DN80 ANSI 150 LF
52764690 | KTM 512 DN100 ANSI 150 LF
52764691 | KTM 512 DN125 ANSI 150 LF
52751065 | KTM 512 DN65 ANSI 150 NF
52751080 | KTM 512 DN80 ANSI 150 NF
52751090 | KTM 512 DN100 ANSI 150 NF
52751091 | KTM 512 DN125 ANSI 150 NF
52751165 | KTM 512 DN65 ANSI 150 HF
52751180 | KTM 512 DN80 ANSI 150 HF
52751190 | KTM 512 DN100 ANSI 150 HF
52751191 | KTM 512 DN125 ANSI 150 HF
52764892 | KTM 50 DN150 ANSI 150 Fc=15kPa
52764893 | KTM50 ANS150 8"
32203130404 | TA 6-Way Control Valve 1/2 NPT Cv 1.45
32203130506 | TA 6-Way Control Valve 3/4 NPT Cv 3.24
32203130507 | TA 6-Way Control Valve 3/4 NPT Cv 4.6
60237115 | 2-Way control valve 0.73 Cv with NPT ends (1/2")
60237215 | 2-Way control valve 1.45 Cv with NPT ends (1/2")
60237315 | 2-Way control valve 1.86 Cv with NPT ends (1/2")
60237415 | 2-Way control valve 2.9 Cv with NPT ends (1/2")
60237515 | 2-Way control valve 4.64 Cv with NPT ends (1/2")
60237120 | 2-Way control valve 5.8 Cv with NPT ends (3/4")
60237220 | 2-Way control valve 7.31 Cv with NPT ends (3/4")
60237225 | 2-Way control valve 11.6 Cv with NPT ends(1")
60237125 | 2-Way control valve 9.28 Cv with NPT ends (1") | Q010216001
60237132 | 2-Way control valve 14.5 Cv with NPT ends (1 1/4")
60237232 | 2-Way control valve 18.56 Cv with NPT ends (1 1/4")
60237140 | 2-Way control valve 23.2 Cv with NPT ends (1 1/2")
60237240 | 2-Way control valve 29 Cv with NPT ends (1 1/2")
60237150 | 2-Way control valve 36.54 Cv with NPT ends (2")
60237250 | 2-Way control valve 45.4 Cv with NPT ends (2")
60230515 | TA control valve two-way DN15Kvs4 PN16 bronze
60230220 | TA control valve two-way DN20Kvs6,3 PN16 bronze
60230225 | TA control valve two-way DN25Kvs10 PN16 bronze
60233232 | TA control valve two-way DN32Kvs16 PN16 bronze
60233240 | TA control valve two-way DN40Kvs25 PN16 bronze
60233150 | TA control valve two-way DN50Kvs31,5 PN16 bronze
60337115 | 3-Way control valve 0.73 Cv with NPT ends (1/2") | @004CV3001
60330115 | CV 316 RGA (3-way) DN 15, ISO7 threads, 0.63 Kvs
60330120 | CV 316 RGA (3-way) DN 20, ISO7 threads, 5 Kvs
60330125 | CV 316 RGA (3-way) DN 25, ISO7 threads, 8 Kvs
60333150 | CV 316 RGA (3-way) DN 50, ISO7 threads, 31.5 Kvs
60337215 | 3-Way control valve 0.45 Cv with NPT ends (1/2") | @004CV3160
60337315 | 3-Way control valve 1.86 Cv with NPT ends (1/2") | @004CV3315
60337415 | 3-Way control valve 2.9 Cv with NPT ends (1/2") | @004CV3415
60337515 | 3-Way control valve 4.64 Cv with NPT ends (1/2") | @004CV3515
60337120 | 3-Way control valve 5.8 Cv with NPT ends (3/4")
60337220 | 3-Way control valve 7.31 Cv with NPT ends (3/4") | @006CV3220
60337225 | 3-Way control valve 11.6 Cv with NPT ends (1") | @006CV3225
60337125 | 3-Way control valve 9.28 Cv with NPT ends (1") | @010CV3160
60337132 | 3-Way control valve 14.5 Cv with NPT ends (1 1/4") | @012CV3132
60337232 | 3-Way control valve 18.56 Cv with NPT ends (1 1/4")
60337140 | 3-Way control valve 23.2 Cv with NPT ends (1 1 /2")
60337240 | 3-Way control valve 29 Cv with NPT ends (1 1/2")
60337150 | 3-Way control valve 36.54 Cv with NPT ends
60337250 | 3-Way control valve 45.4 Cv with NPT ends | @020CV3160
60330215 | CV 316 RGA (3-way) DN 15, ISO7 threads, 1.25 Kvs
60335392 | TA control valve three-way DN150 Kvs315 PN16(European Flange Only) cast iron
60336194 | TA CV316 control valve 3-way (three-way) DN250 Kvs400 PN16 200°C for MC, European Flanges Only
60336493 | TA CV316 control valve 3-way (three-way) DN200 Kvs630 PN16, European Flange Only
60333140 | TA control valve three-wayDN40 Kvs20 PN16 bronze
60333132 | CV 316 RGA (3-way) DN 32, ISO7 threads, 12.5 Kvs
60336392 | CV 316, PN 16, KVS 315 European Flanges Only DN150
119053 | Replacement Cap for MC 55 Y actuator
118226 | Mounting kit for MC100FSR/FSE actuators | @000FSE000
15833 | EPDM Gasket for DA/KTM 1/2"/3/4" | P0047DAGSK
15834 | EPDM Gasket for DA/KTM 1"/ 1 1/4" | P0107DAGSK
15835 | EPDM Gasket for DA/KTM 1 1/2"/2" | P0147DAGSK
1833-40.500 | Protective cover for EMO T and EMO TM with M12X1.5 thread for protective conduit (Conduit and fitting not included)
10058011 | Gasket for 52163240 (Connection 1 1/2" FNPT)
10058012 | Gasket for 52163250 (Connection 2" FNPT)
ICSS0050FF | ICSS Potable Water Balancing Valve 1/2"
ICSS0075FF | ICSS Potable Water Balancing Valve 3/4"
ACT30041001W | TA Actuator Spring Return Down NC 24 VAC with Wire Harness | P000ACT001
ACT30041011W | TA Actuator Spring Up NO 24 VAC with Wire Harness | P000ACT002
ACT30041002W | TA Actuator Spring Return Down NC 110 VAC with Wire Harness | P000ACT003
ACT30041012W | TA Actuator Spring Up NO 110 VAC with Wire Harness | P000ACT004
ACT30041003W | TA Actuator Spring Return Down NC 220 VAC with Wire Harness | @000ACT021
ACT30041013W | TA Actuator Spring Up NO 220 VAC with Wire Harness | @000ACT020
BBVLF050FF | LEAD FREE IMI TA BBV 1/2" FPT | V00478BLFF
BBVLF075FF | LEAD FREE IMI TA BBV 3/4" FPT | V00678BLFF
BBVLF050SS | LEAD FREE IMI TA BBV 1/2" SWT | V00478BLSS
BBVLF075SS | LEAD FREE IMI TA BBV 3/4"SWT | V00678BLSS
BBVLF100FF | LEAD FREE IMI TA BBV 1" FPT | V01078BLFF
BBVLF125FF | LEAD FREE IMI TA BBV 1 1/4" FPT | V01278BLFF
BBVLF100SS | LEAD FREE IMI TA BBV 1" SWT | V01078BLSS
BBVLF125SS | LEAD FREE IMI TA BBV 1 1/4" SWT | V01278BLSS
BBVLF150FF | LEAD FREE IMI TA BBV 1 1/2" FPT | V01478BLFF
BBVLF200FF | LEAD FREE IMI TA BBV 2" FPT | V02078BLFF
BBVLF150SS | LEAD FREE IMI TA BBV 1 1/2" SWT | V01478BLSS
BBVLF200SS | LEAD FREE IMI TA BBV 2" SWT | V02078BLSS
ACTM300420010 | TA Actuator Modulating ​2-10Vdc Normally Closed​
ACTM30042001A | TA Actuator Modulating 10-2Vdc Normally Closed​
ACTM30042001B | TA Actuator Modulating ​0-10Vdc Normally Closed​ | P000ACT005
ACTM30042001C | TA Actuator Modulating 10-0Vdc Normally Closed​
ACTM30042001D | TA Actuator Modulating ​0-5Vdc Normally Closed​
ACTM30042001E | TA Actuator Modulating ​5-0Vdc Normally Closed​
ACTM30042001F | ​TA Actuator Modulating 5-10Vdc Normally Closed​
ACTM30042001G | ​TA Actuator Modulating 10-5Vdc Normally Closed
ACTM30042001H | TA Actuator Modulating ​4-20mA Normally Closed​
ACTM30042001I | ​TA Actuator Modulating 20-4mA Normally Closed​
ACTM300420110 | TA Actuator Modulating ​2-10Vdc Normally Open​
ACTM30042011A | TA Actuator Modulating ​10-2Vdc Normally Open​
ACTM30042011B | TA Actuator Modulating ​0-10Vdc Normally OPen​ | P000ACT006
ACTM30042011C | TA Actuator Modulating ​10-0Vdc Normally Open​
ACTM30042011D | ​TA Actuator Modulating 0-5Vdc Normally Open​
ACTM30042011E | TA Actuator Modulating ​5-0Vdc Normally Open​
ACTM30042011F | TA Actuator Modulating ​5-10Vdc Normally Open​
ACTM30042011G | TA Actuator Modulating ​10-5 Normally Open​
ACTM30042011H | TA Actuator Modulating ​4-20mA Normally Open​
ACTM30042011I | ​TA Actuator Modulating 20-4mA Normally Open​
DX | Extended PT port for BBVLF (Dallas)
BBVEH-A | Extended Stem for BBVLF Size 1/2"/3/4"
BBVEH-B | Extended Stem for BBVLF Size 1"/ 1 1/4"
BBVEH-C | Extended Stem for BBVLF Size 1 1/2"/2"
FHA1-050-12-JN | Hose 1/2" with 12 in length
FHA1-075-12-JN | Hose 3/4" with 12 in length
FHA1-100-12-JN | Hose 1" with 12 in length
FHA1-125-12-JN | Hose 1 1/4" with 12 in length
FHA1-150-12-JN | Hose 1 1/2" with 12 in length
FHA1-200-12-JN | Hose 2" with 12" in length
FHA1-050-24-JN | Hose 1/2" with 24 in length
FHA1-075-24-JN | Hose 3/4" with 24 in length
FHA1-100-24-JN | Hose 1" with 24 in length
FHA1-125-24-JN | Hose 1 1/4" with 24 in length
FHA1-150-24-JN | Hose 1 1/2" with 24 in length
FHA1-200-24-JN | Hose 2" with 24" in length