## Valves export (1)
Technical informations | #1 |  | #2 | Primary product | [26 empty] | Secondary product | [21 empty] | Selection mode
|  |  |  | Product | [13 empty] | Technical informations | [9 empty] | Article N° | Local Art. Nr. | Qty | Product | [14 empty] | Technical informations |  |  |  | Article N° | Local Art. Nr. | Qty
|  |  |  | Name | Body Material | Size | Connection | Version | Dpl range | PN; Tmin/Tmax | Location | Kvs | Qnom | Cable length to remote temp. sensor | Power Supply | Input | Output signal | Flow | Power/DT | Dp | Control mode | Dpl | Dp min. | Dp max. | Setting | Hmin | Author. |  |  |  | Name | Actuator informations | [9 empty] | Size | Connection | Version | PN; Tmin/Tmax | Flow | Power/DT | Dp | Setting
[31 empty] | TA-Slider 160 (2m HF) | Max force : 160 N | Actuating time : 10 s/mm | IP auto(man.) : 54 | 24 VAC; 24 VDC | 0(2)-10 V | : - | No relay | Fail-safe type : No | Default return position : None | [9 empty] | 322224-10115 |  | 1 | Direct selection
| BCV Set |  |  | TBV-CM 1/2NF+EMOTM24/NC(5m) | Ametal(tm) |  | Thread NPT | US specific |  | PN16; -20/120 °C | [17 empty] | **********(deleted) |  | 4 | EMO TM 24/NC (5m) | Close-off Dp : 380000 Pa | Actuating time : 120 s | IP auto(man.) : 54 | 24 VAC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : Extending | [9 empty] | - |  | 4 | Direct selection
| test1 |  |  | KTM 50 DN200 HF | Ductile iron |  | Flange | Standard |  | PN16; -10/150 °C | [17 empty] | *****-***(deleted) |  | 1 | TA-Slider 1250 Plus Modbus/RTU Relay(HV) |  | Actuating time : 60; 80; 120; 160; 240; 320* s | IP auto(man.) : 54 | 115 VAC; 230 VAC | On-off; 3-point; 0(2)-10 V; 0(4)-20 mA; Modbus RTU | 0(2)-10 V; 0(4)-20 mA | Relay 220V | Fail-safe type : No | Default return position : None | [9 empty] | ******-*****(deleted) |  | 1 | Direct selection
|  | Cv accessory |  | Adapter 07 ; Adapter for TA-Slider 750/1250, TA-MC 100 actuators | [23 empty] | 52757-907 |  | 1
| test2 |  |  | TBV-C 3/4NF+EMOT24/NO(5m) | Ametal(tm) |  | Thread NPT | Standard |  | PN16; -20/120 °C | [17 empty] | **********(deleted) |  | 1 | EMO T 24/NO (5m) | Close-off Dp : 275000 Pa | Actuating time : 120 s | IP auto(man.) : 54 | 24 VAC; 24 VDC | On-off | - | No relay | Fail-safe type : No | Default return position : Retracting | [9 empty] | - |  | 1 | Direct selection
| test3 |  | 3 | TA-FUSION-C 65-2 | Ductile iron |  | Flange | Standard |  | PN16; -20/120 °C | [17 empty] | *****-******(deleted) |  | 1 | TA-Slider 750 Plus BACnet/MSTP (HV) | Close-off Dp : 800000 Pa | Actuating time : 60; 80; 120; 160; 240; 320* s | IP auto(man.) : 54 | 115 VAC; 230 VAC | On-off; 3-point; 0(2)-10 V; 0(4)-20 mA; BACnet MSTP | 0(2)-10 V; 0(4)-20 mA | Relay 220V | Fail-safe type : No | Default return position : None | [9 empty] | 322226-43219 |  | 1 | Direct selection
|  | Cv accessory |  | Adapter 03 ; Adapter for TA-SLIDER 750/1250, TA-MC55(Y), TA-MC100(FSE/FSR) actuators | [23 empty] | 22413-001055 |  | 1
|  | Cv accessory |  | Self-sealing measuring point extension ; Self-sealing measuring point extension | [23 empty] | 52179-006 |  | 2
| test7 |  |  | DR 16 EVS DN80 | Cast iron | Kvs = 490 | Flange | Standard |  | PN6-16; -10/110 °C | [17 empty] | *****-***(deleted) |  | 1 | [22 empty] | Direct selection
|  | Cv accessory |  | ACB 1 ; Flap: Stainless steel / Seat ring: EPDM | [23 empty] | 68401-080 |  | 1
| test8 |  |  | KTCM 512 20HF | Ductile iron |  | Thread male | PT 90 |  | PN25; -10/120 °C | [17 empty] | *****-***(deleted) |  | 1 | TA-Slider 160 (2m) |  | Actuating time : 40 s | IP auto(man.) : 54 | 24 VAC; 24 VDC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : None | [9 empty] | 322224-10112 |  | 1 | Direct selection
| test12 | [29 empty] | WK Head | Setting range : 6 °C - 28 °C | Capillary length : - | Hysteresis : - | Frost protection : 6 °C | [14 empty] | 7300-00.500 |  | 1 | Direct selection
| test11 |  |  | TA-Compact-DP 25 |  | 25 (1") | Thread male | Standard |  | PN16; -20/120 °C | [19 empty] | 1 | TA-Slider 160 (2m) | Close-off Dp : 400000 Pa | Actuating time : 40 s | IP auto(man.) : 54 | 24 VAC; 24 VDC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : 120°C | [8 empty] | 322224-10112 |  | 1 | Direct selection
|  | DpCBCV accessory |  | Presetting tool ; Presetting tool | [23 empty] | 52164-950 |  | 1
| test8 |  |  | TA-PILOT-R 65 |  | 65 (2 1/2") | Flange | PT 90 & Sil.-free grease | [30000-150000] Pa | PN25; -10/120 °C | [17 empty] | 23121-2221-065SF |  | 1 | [22 empty] | Direct selection
|  | DpC accessory |  | Capillary pipe connection with shut-off DN20-DN50; For replacement of existing measuring point on STAF/STAF-SG, DN 20 to 50. | [23 empty] | 52265-209 |  | 1
| test10 |  |  | STAP 25(10-60) + STAD* DN25 |  | 25 (1") | Thread | Standard | [10000-60000] Pa | PN16; -20/120 °C | [17 empty] | 52865-004 |  | 1 | STAD* 25 | [10 empty] | 25 (1") | Thread | With capillary pipe | PN25; -20/120 °C |  |  |  |  | - |  | 1 | Direct selection
|  | DpC accessory |  | Draining kit 3/4"; Can be installed during system operation. | [23 empty] | 52265-202 |  | 1
| return alone |  |  | STK 20 |  | 20 (3/4") | Thread | Straight |  | PN16; -10/120 °C | [17 empty] | 50007-720 |  | 1 | [22 empty] | Direct selection
| test4 |  |  | MD 11 DN32 |  | 32 (1 1/4") | Thread | PT 90 |  | PN20; -10/120 °C | [17 empty] | 52176-132&51064-032 |  | 1 | [22 empty] | Direct selection
| test5 |  |  | STAD* 50 |  | 50 (2") | Smooth ends | With drain 3/4" |  | PN25; -20/120 °C | [17 empty] | *****-***(deleted) |  | 1 | [22 empty] | Direct selection
|  | Bv accessory |  | Extension for measuring point M14x1; Length 71 mm. Suitable when insulation is used. | [23 empty] | 52179-016 |  | 2
| insert alone |  | test6 | Vekolux (G 3/4) |  | 20 (3/4") | Thread male G3/4 | Straight |  | PN10; -10/120 °C | [17 empty] | 0532-50.000 |  | 1 | [22 empty] | Direct selection
|  |  |  | Calypso exact 15(1/2") |  | 15 (1/2") | Rad. union/Thread | Straight |  | PN10; 2/120 °C | [17 empty] | 3452-02.000 |  | 1 | TA-Slider 160 (5m HF) | Max force : 160 N | Actuating time : 10 s/mm | IP auto(man.) : 54 | 24 VAC; 24 VDC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : 120°C | [8 empty] | 322224-10116 |  | 1 | Direct selection
| test13 |  |  | TA-Compact-DP 25 |  | 25 (1") | Thread male | Standard |  | PN16; -20/120 °C | [7 empty] | 0.00022 m3/s |  |  |  |  | 15833 Pa |  | pos. 3.25 | 20833 Pa |  | 52164-225 |  | 1 | [22 empty] | Individual selection
|  | DpCBCV accessory |  | ACCXS_28 ; Soldering connection | [23 empty] | 52 009-528 |  | 2
|  | DpCBCV accessory |  | Protection cap ; Protection cap | [23 empty] | 52143-100 |  | 1
|  | DpCBCV accessory |  | Tamper proof cover ; Tamper proof cover | [23 empty] | 52164-100 |  | 1
| test13 | With STS |  | STS* 20 |  | 20 (3/4") | Thread | With drain 3/4" |  | PN25; -20/120 °C | [7 empty] | 0.00022 m3/s |  | 1383 Pa | [7 empty] | 52849-620 |  | 1 | [22 empty] | Individual selection
|  | DpCBCV sv accessory |  | Self-sealing measuring point extension; Length 60 mm. Can be installed without draining of the system. | [23 empty] | 52179-006 |  | 1
| Warmtepompen |  | 76 kW - 12/17°C | STAF 65-2 |  | 65 (2 1/2") | Flange | Standard |  | PN16; -10/120 °C | [7 empty] | 0.0036 m3/s | 76000 W / 5 °C | 3000 Pa |  |  |  |  | 6.8 turns |  |  | *****-***(deleted) |  | 2 | [22 empty] | Individual selection
| WW Freecooling |  | 125 kW - 12/17°C | STAF 80 |  | 80 (3") | Flange | Standard |  | PN16; -10/120 °C | [7 empty] | 0.006 m3/s | 125000 W / 5 °C | 3206 Pa |  |  |  |  | 8* turns |  |  | *****-***(deleted) |  | 1 | [22 empty] | Individual selection
| Shutoff |  |  | Globo H DN32 |  | 32 (1 1/4") | Viega press | Standard |  | PN10; -10/110 °C | [7 empty] | 0.00056 m3/s |  | 227 Pa | [7 empty] | 0602-35.000 |  | 2 | M106 |  |  | IP auto(man.) : 43 | 230 VAC | 3-point | - | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : 80.0°C | [8 empty] | 0600-00.700 |  | 2 | Individual selection
| Gate valves |  |  | TA 60 DN10 |  | 10 (3/8") | Thread | Standard |  | PN16; 0/170 °C | [7 empty] | 5.556e-5 m3/s |  | 111 Pa | [7 empty] | 51060-010 |  | 1 | [22 empty] | Individual selection
|  |  |  | STS* 15 |  | 15 (1/2") | Thread | With drain 3/4" |  | PN25; -20/120 °C | [7 empty] | 5.556e-5 m3/s |  | 326 Pa | [7 empty] | 52849-615 |  | 1 | [22 empty] | Individual selection
| BF valves |  |  | TA-BTV DN50 |  | 50 (2") | Flange | Fully lugged |  | PN16; -10/120 °C | [7 empty] | 0.0014 m3/s |  | 180 Pa | [7 empty] | 42450-137250 |  | 2 | [22 empty] | Individual selection
| *A |  | Aanvoerleiding collector - 12/17°C | STAF* 100 |  | 100 (4") | Flange | Standard |  | PN16; -10/120 °C | [7 empty] | 0.0075 m3/s |  | 3000 Pa |  |  |  |  | 6.65 turns |  |  | 52186-090 |  | 1 | [22 empty] | Hydraulic Network
| *A.1 |  | Kring 1: Nakoeling luchtgroepen - 27,3 kW - 12/17°C | STAD* 40 |  | 40 (1 1/2") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.0013 m3/s |  | 24672 Pa |  |  |  |  | 2.55 turns |  |  | 52851-040 |  | 1 | [22 empty] | Hydraulic Network
| *A.1.1 |  | LG-B2 Refter: 18,2 kW - 12/17°C | TA-Modulator 32 | Ametal(tm) |  | Thread male | Standard |  | PN16; -20/120 °C | [7 empty] | 0.00088 m3/s |  |  |  |  | 21683 Pa |  | pos. 8 |  |  | 52164-332 |  | 1 | TA-Slider 160 (1m) | Close-off Dp : 600000 Pa | Actuating time : 65.6 s | IP auto(man.) : 54 | 24 VAC; 24 VDC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : 120°C | [8 empty] | 322224-10111 |  | 1 | Hydraulic Network
| *A.1.2 |  | Koelbatterij koude refter: 4,1 kW - 12/17°C | TA-Modulator 20 | Ametal(tm) |  | Thread male | Standard |  | PN16; -10/90 °C | [7 empty] | 0.0002 m3/s |  |  |  |  | 14493 Pa |  | pos. 6.5 |  |  | 52164-320 |  | 1 | TA-Slider 160 (1m) | Close-off Dp : 400000 Pa | Actuating time : 40.4 s | IP auto(man.) : 54 | 24 VAC; 24 VDC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : 120°C | [8 empty] | 322224-10111 |  | 1 | Hydraulic Network
| *A.1.3 |  | Koelbatterij warme refter: 4,1 kW - 12/17°C | TA-Modulator 20 | Ametal(tm) |  | Thread male | Standard |  | PN16; -10/90 °C | [7 empty] | 0.0002 m3/s |  |  |  |  | 14493 Pa |  | pos. 6.5 |  |  | 52164-320 |  | 1 | TA-Slider 160 (1m) | Close-off Dp : 400000 Pa | Actuating time : 40.4 s | IP auto(man.) : 54 | 24 VAC; 24 VDC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : 120°C | [8 empty] | 322224-10111 |  | 1 | Hydraulic Network
| *A.1.4 |  | Koelbatterij TV-hoek: 0,86 kW - 12/17°C | TA-Modulator 15 | Ametal(tm) |  | Thread male | Standard |  | PN16; -10/90 °C | [7 empty] | 4.136e-5 m3/s |  |  |  |  | 13842 Pa |  | pos. 3.5 |  |  | 52164-315 |  | 1 | TA-Slider 160 (1m) | Close-off Dp : 400000 Pa | Actuating time : 40.2 s | IP auto(man.) : 54 | 24 VAC; 24 VDC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : 120°C | [8 empty] | 322224-10111 |  | 1 | Hydraulic Network
| *A.2 |  | Kring 2: Klimaatbalken - 86,7 kW - 15/17°C | TA-Modulator 65 | Ductile iron |  | Flange | Standard |  | PN16; -10/120 °C | [7 empty] | 0.0042 m3/s |  |  |  |  | 24992 Pa |  | 4.14 turns |  |  | 322021-11001 |  | 1 | TA-Slider 750 (24V) | Close-off Dp : 800000 Pa | Actuating time : 60; 80; 120; 160; 240; 320* s | IP auto(man.) : 54 | 24 VAC; 24 VDC | On-off; 3-point; 0(2)-10 V; 0(4)-20 mA | 0(2)-10 V | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : 120°C | [8 empty] | 322226-10110 |  | 1 | Hydraulic Network
| *A.2 | secondary | Kring 2: Klimaatbalken - 86,7 kW - 15/17°C | STAF* 100 |  | 100 (4") | Flange | Standard |  | PN16; -10/120 °C | [7 empty] | 0.01 m3/s |  | 4371 Pa |  |  |  |  | 7.75 turns |  |  | 52186-090 |  | 1 | [22 empty] | Hydraulic Network
| *A.2.1 |  | Klimaatbalken niv.+4: 32,98 kW - 15/17°C | STAF 65-2 |  | 65 (2 1/2") | Flange | Standard |  | PN16; -10/120 °C | [7 empty] | 0.004 m3/s |  | 3790 Pa |  |  |  |  | 6.55 turns |  |  | *****-***(deleted) |  | 1 | [22 empty] | Hydraulic Network
| *A.2.2 |  | Klimaatbalken niv.+3: 10,24 kW - 15/17°C | STAD* 50 |  | 50 (2") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.0012 m3/s |  | 4291 Pa |  |  |  |  | 2.99 turns |  |  | 52851-050 |  | 1 | [22 empty] | Hydraulic Network
| *A.2.3 |  | Klimaatbalken niv.+1: 29,93 kW - 15/17°C | STAF* 65 |  | 65 (2 1/2") | Flange | Standard |  | PN16; -10/120 °C | [7 empty] | 0.0036 m3/s |  | 3000 Pa |  |  |  |  | 7.05 turns |  |  | 52186-065 |  | 1 | [22 empty] | Hydraulic Network
| *A.2.4 |  | Klimaatbalken niv.+0: 13,52 kW - 15/17°C | STAD* 50 |  | 50 (2") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.0016 m3/s |  | 3844 Pa |  |  |  |  | 3.77 turns |  |  | 52851-050 |  | 1 | [22 empty] | Hydraulic Network
| *A.3 |  | Flow control: 10% - 1960 l/h | TA-Compact-P 25 | Ametal(tm) |  | Thread male | Standard |  | PN16; -10/90 °C | [7 empty] | 0.00054 m3/s |  |  |  |  | 21484 Pa |  | pos. 8.5 |  |  | 52164-025 |  | 1 | [22 empty] | Hydraulic Network
| *A.4 |  |  | STAD* 20 |  | 20 (3/4") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.00028 m3/s |  | 53687 Pa |  |  |  |  | 1.61 turns |  |  | 52851-020 |  | 1 | [22 empty] | Hydraulic Network
| *A.4.1 |  |  | STAD* 25 |  | 25 (1") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.00028 m3/s |  | 3000 Pa |  |  |  |  | 2.68 turns |  |  | 52851-025 |  | 1 | [22 empty] | Hydraulic Network
| *A.5 |  |  | TBV-CM 25NF | Ametal(tm) |  | Thread | Standard |  | PN16; -20/120 °C | [7 empty] | 0.00083 m3/s |  | 56222 Pa |  |  |  |  | pos. 10* |  |  | 52144-125 |  | 1 | TA-Slider 160 (1m) | Close-off Dp : 1.85e+6 Pa | Actuating time : 40 s | IP auto(man.) : 54 | 24 VAC; 24 VDC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : 120°C | [8 empty] | 322224-10111 |  | 1 | Hydraulic Network
| *A.5 | secondary |  | STAD* 40 |  | 40 (1 1/2") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.00083 m3/s |  | 3917 Pa |  |  |  |  | 3.34 turns |  |  | 52851-040 |  | 1 | [22 empty] | Hydraulic Network
| *A.5.1 |  |  | CV 216 RGA DN15 | Bronze | Kvs = 1.25 | Thread | Standard |  | PN16; -15/150 °C | [7 empty] | 0.00014 m3/s |  | 15992 Pa |  |  |  |  | - |  |  | 60230-215 |  | 1 | TA-MC 55Y | Close-off Dp : 1.5e+6 Pa | Actuating time : 108; 60* s | IP auto(man.) : 54(30) | 24 VAC | 0(2)-10 V; 0(4)-20 mA | 0-10 V | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : - | [8 empty] | 61055-003 |  | 1 | Hydraulic Network
| *A.5.1 |  |  | STAP 15 |  | 15 (1/2") | Thread | Standard | [10000-60000] Pa | PN16; -20/120 °C | [7 empty] | 0.00014 m3/s |  |  |  | Dpl = 18992 Pa | 12749 Pa |  | 20.5 turns | 32825 Pa (Kv=1.2) | 0.84 | 52265-015 |  | 1 | STAD* 20 | [10 empty] | 20 (3/4") | Thread | With drain 3/4" | PN25; -20/120 °C | 0.00014 m3/s |  | 3000 Pa | 2.6 turns | 52851-620 |  | 1 | Hydraulic Network
| *A.5.2 |  |  | TA-Compact-DP 20 |  | 20 (3/4") | Thread male | Standard |  | PN16; -20/120 °C | [7 empty] | 0.00028 m3/s |  | 25398 Pa |  |  |  |  | pos. 9.25 |  |  | 52164-220 |  | 1 | EMO TM 24/NC (0.8m) | Close-off Dp : 400000 Pa | Actuating time : 120 s | IP auto(man.) : 54 | 24 VAC | 0(2)-10 V | - | No relay | Fail-safe type : No | Default return position : Extending | Max. Temp. : 120°C | [8 empty] | 1868-00.500 |  | 1 | Hydraulic Network
| *A.5.2 |  |  | STS* 25 |  | 25 (1") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.00028 m3/s |  | 1040 Pa | [7 empty] | 52849-025 |  | 1 | [22 empty] | Hydraulic Network
| *A.5.3 |  |  | CV 316 RGA DN20 | Bronze | Kvs = 5 | Thread | Standard |  | PN16; -15/150 °C | [7 empty] | 0.00028 m3/s |  | 3995 Pa |  |  |  |  | - |  |  | 60330-120 |  | 1 | TA-MC 55Y | Close-off Dp : 1.25e+6 Pa | Actuating time : 108; 60* s | IP auto(man.) : 54(30) | 24 VAC | 0(2)-10 V; 0(4)-20 mA | 0-10 V | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : - | [8 empty] | 61055-003 |  | 1 | Hydraulic Network
| *A.5.3 |  |  | STAD* 20 |  | 20 (3/4") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.00028 m3/s |  | 17240 Pa |  |  |  |  | 2.31 turns |  |  | 52851-020 |  | 1 | [22 empty] | Hydraulic Network
| *A.5.3 | Bypass |  | STAD* 20 |  | 20 (3/4") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.00028 m3/s |  | 10000 Pa |  |  |  |  | 2.73 turns |  |  | 52851-020 |  | 1 | [22 empty] | Hydraulic Network
| *A.5.4 |  |  | CV 316 RGA DN15 | Bronze | Kvs = 0.63 | Thread | Standard |  | PN16; -15/150 °C | [7 empty] | 0.00014 m3/s |  | 62956 Pa |  |  |  |  | - |  |  | 60330-115 |  | 1 | TA-MC 55Y | Close-off Dp : 1.5e+6 Pa | Actuating time : 108; 60* s | IP auto(man.) : 54(30) | 24 VAC | 0(2)-10 V; 0(4)-20 mA | 0-10 V | No relay | Fail-safe type : No | Default return position : None | Max. Temp. : - | [8 empty] | 61055-003 |  | 1 | Hydraulic Network
| *A.5.4 |  |  | STAD* 15 |  | 15 (1/2") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.00014 m3/s |  | 62556 Pa |  |  |  |  | 2.02 turns |  |  | 52851-015 |  | 1 | [22 empty] | Hydraulic Network
| *A.5.4 | secondary |  | STAD* 20 |  | 20 (3/4") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.00014 m3/s |  | 3844 Pa |  |  |  |  | 2.41 turns |  |  | 52851-020 |  | 1 | [22 empty] | Hydraulic Network
| *A.6 |  |  | V-exact II 10(3/8") | Gunmetal nickel-plated |  | Rad. union/Thread | Straight |  | PN10; -10/120 °C | [7 empty] | 5.556e-5 m3/s |  | 17305 Pa |  |  |  |  | Setting = 5.5 |  |  | 3712-01.000 |  | 1 | EMO T 24/NO (0.8m) |  | Actuating time : 30 s/mm | IP auto(man.) : 54 | 24 VAC; 24 VDC | On-off | - | No relay | Fail-safe type : No | Default return position : Retracting | Max. Temp. : 120°C | [8 empty] | 1847-00.500 |  | 1 | Hydraulic Network
| *A.7 |  |  | LR 20(3/4") | Gunmetal nickel-plated |  | Rad. union/Thread | Angle |  | PN10; -10/120 °C | [7 empty] | 0.00028 m3/s |  | 3076 Pa |  |  |  |  | Setting = 1 |  |  | 2241-03.000 |  | 1 | EMO T 24/NO (0.8m) |  | Actuating time : 30 s/mm | IP auto(man.) : 54 | 24 VAC; 24 VDC | On-off | - | No relay | Fail-safe type : No | Default return position : Retracting | Max. Temp. : 120°C | [8 empty] | 1847-00.500 |  | 1 | Hydraulic Network
| *A.7 |  |  | STAD* 20 |  | 20 (3/4") | Thread | Without drain |  | PN25; -20/120 °C | [7 empty] | 0.00028 m3/s |  | 51445 Pa |  |  |  |  | 1.63 turns |  |  | 52851-020 |  | 1 | [22 empty] | Hydraulic Network

## Pneumatex export (2)
Pressurisation and Water Quality selection | [7 empty] | Pressurisation input data | [22 empty] | Pressurisation calculated data | [26 empty] | Separator tech. info |  |  |  | Safety valve tech. info | [6 empty] | Product parameters
| #1 | #2 | Qty | Product name | Product function | Article N° | Local Art. Nr. |  | Application type | Fluid type: | Norm | System volume [Vs] | Solar collector volume [Vkoll] | Solar collector multiplier factor | Storage tank volume [Vsto] | Storage tank max. temperature [Tmax,sto] | Installed power [Qs] | Static height [Hst] | Min. required equipment pressure [pz] | Safety valve response pressure [pSV] | Safety temperature limiter [TAZ] | Maximum temperature [tsmax] | Supply temperature | Return temperature | Minimum temperature [tsmin] | Fill temperature | Pressurisation on | Pump head | Max width | Max height | System expansion coefficient [e] | System expansion volume [Ve] | Factor [X] | System expansion volume [e.Vs.X] | Storage tank expansion coefficient [esto] | Storage tank expansion volume [Vsto.esto] | Total expansion volume [Ve,tot] | Solar collector security volume [VDK] | Min. water reserve (To add for expansion) [Vwr,min] | Degassing water reserve [Vv] | Vessel net volume [Vn] | Min. water reserve (Included in expansion) [Vwr,min] | Water reserve [Vwr] | Contracted volume [Vcontr] | Vapour over-pressure [pv] | Minimum pressure [p0] | Min. initial pressure [pa,min] | Initial pressure [pa] | Filling pressure [pfill] | Target pressure [pman] | Final pressure [pe] | Specific flowrate of equalization volume [qN/Q] | Necessary flowrate of equalization volume [qN] | Pressure factor [PF] | Required nominal volume | Expansion pipe up to (10 m) [DNe] | Expansion pipe up to (30 m) [DNe] |  | Flow | Power/DT | Dp |  | Set pressure | Heat generator type | Power 100% | Power | Max. collector | Collector
[9 empty] | - | - | - | m3 | m3 | - | m3 | °C | W | m | Pa | Pa | °C | °C | °C | °C | °C | °C | - | Pa | m | m | - | m3 | - | m3 | - | m3 | m3 | m3 | m3 | m3 | m3 | m3 | m3 | m3 | Pa | Pa | Pa | Pa | Pa | Pa | Pa | m3/s/W | m3/s | - | m3 | - | - |  | m3/s | W/°C | Pa |  | Pa | - | W | W | m2 | m2
Pressurisation
Individual selection
| Expansie | [7 empty] | Heating | Water | EN 12828 | 5 m3 | - | - | - | - | 60000 W | 10 m | - | 300000 Pa | 100 °C | - | 90 °C | 80 °C | 5 °C |  | pump suction | - | 0 m | 0 m | 0.0360 | 0.18 m3 | - | - | - | - | 0.18 m3 | - | 0.025 m3 | 0.002 m3 | 0.207 m3 | - | - | - | 0 Pa | 128100 Pa | - | 158100 Pa |  | 178100 Pa | 198100 Pa | 1.7111e-10 m3/s/W | 1.027e-5 m3/s | 1.10 | 0.227 m3 | 50 (2") | 50 (2")
|  |  | 4 | TV 4.2 EH | TecBox - Transfero/Degassing/Pump | 811 1520 | [63 empty] | PS = 1e+6 Pa | Power = 1500 W | Supply voltage = 230 VAC
|  |  | 4 | SD 50.10 | Buffer vessel | 710 3005 | [63 empty] | Connection = Thread ISO228 Male R | Nom. volume = 0.05 m3 | PS = 1e+6 Pa | Temp. range = 5/70 °C | Weight = 12 kg | Max. weight = 62 kg
|  |  | 5 | DLV 20 | Lockshield valve DLV, female thread on both sides, flat sealing union for direct connection to expansion vessel. | 535 1434
|  |  | 2 | TU 300 | Primary vessel | 713 1001 | [63 empty] | Connection = Thread ISO228 Female RP | Nom. volume = 0.3 m3 | PS = 200000 Pa | Temp. range = 5/70 °C | Weight = 44 kg | Max. weight = 344 kg
|  |  | 4 | P AB5 R | TecBox - Pleno/Make-up water | 813 3330 | [63 empty] | PS = 1e+6 Pa | Power = 0 W | Supply voltage = -
|  |  | 4 | Refill 48000 | Pleno Refill Softening | 813 3230 | [63 empty] | Capacity = 8.56 m3/mol/m3 | Heigth = 0.458 m | Weight = 15.7 kg
Air vents & separators
Individual selection
| Vuilafscheider | [8 empty] | Water Temperature: 12 °C | [48 empty] | 0.0054 m3/s |  | 9674 Pa
|  |  | 1 | ZG 80 | Cyclonic dirt separator | 303041-11100 | [63 empty] | Connection = Flange | Version = Standard | PN 16; -10/110 °C
|  |  | 1 | ZGM 65-100 | Zeparo G-Force Magnet ZGM | 303051-11000

## Article list (3)
Article list | Article list | Article list | Article list | Article list | Article list | Article list
Article N° |  |  | Description | Qty
********** (deleted) |  |  | TBV-C 3/4NF+EMOT24/NO(5m) (Set) | 1
********** (deleted) |  |  | TBV-CM 1/2NF+EMOTM24/NC(5m) (Set) | 4
******-***** (deleted) |  |  | TA-Slider 1250 Plus Modbus/RTU Relay(HV); Actuating force = 1250 N; Power Supply = 115 VAC; 230 VAC; Relay type = Relay 220V | 1
*****-*** (deleted) |  |  | KTCM 512 20HF; PT 90; Thread male; PN 25 | 1
*****-*** (deleted) |  |  | KTM 50 DN200 HF; Standard; Flange; PN 16 | 1
*****-*** (deleted) |  |  | DR 16 EVS DN80; Standard; Flange; PN 6-16; Kvs = 490 | 1
*****-*** (deleted) |  |  | STAD* 50; With drain 3/4"; Smooth ends; PN 25 | 1
*****-*** (deleted) |  |  | STAF 80; Standard; Flange; PN 16 | 1
*****-*** (deleted) |  |  | STAF 65-2; Standard; Flange; PN 16 | 3
*****-****** (deleted) |  |  | TA-FUSION-C 65-2; Standard; Flange; PN 16; Kvs = 64.3 | 1
0532-50.000 |  |  | Vekolux (G 3/4); Straight; 4; PN 10 | 1
0600-00.700 |  |  | M106; Actuating torque = 8 N; Power Supply = 230 VAC; Relay type = No relay | 2
0602-35.000 |  |  | Globo H DN32; Standard; Viega press; PN 10 | 2
1847-00.500 |  |  | EMO T 24/NO (0.8m); Actuating force = 125 N; 24 VAC; 24 VDC | 2
1868-00.500 |  |  | EMO TM 24/NC (0.8m); Actuating force = 125 N; 24 VAC | 1
2241-03.000 |  |  | LR 20(3/4"); Angle; Thread | 1
22413-001055 |  |  | Adapter 03; Adapter for TA-SLIDER 750/1250, TA-MC55(Y), TA-MC100(FSE/FSR) actuators | 1
23121-2221-065SF |  |  | TA-PILOT-R 65; [30000-150000] Pa; PT 90 & Sil.-free grease; Flange; PN 25 | 1
303041-11100 |  |  | ZG 80; Standard; Flange; PN 16 | 1
303051-11000 |  |  | ZGM 65-100; Zeparo G-Force Magnet ZGM | 1
322021-11001 |  |  | TA-Modulator 65; Standard; Flange | 1
322224-10111 |  |  | TA-Slider 160 (1m); Actuating force = 160 N; Power Supply = 24 VAC; 24 VDC; Relay type = No relay | 5
322224-10112 |  |  | TA-Slider 160 (2m); Actuating force = 160 N; 24 VAC; 24 VDC | 2
322224-10115 |  |  | TA-Slider 160 (2m HF); Actuating force = 160 N; Power Supply = 24 VAC; 24 VDC; Relay type = No relay | 1
322224-10116 |  |  | TA-Slider 160 (5m HF); Actuating force = 160 N; 24 VAC; 24 VDC | 1
322226-10110 |  |  | TA-Slider 750 (24V); Actuating force = 750 N; Power Supply = 24 VAC; 24 VDC; Relay type = No relay | 1
322226-43219 |  |  | TA-Slider 750 Plus BACnet/MSTP (HV); Actuating force = 750 N; Power Supply = 115 VAC; 230 VAC; Relay type = Relay 220V | 1
3452-02.000 |  |  | Calypso exact 15(1/2"); Straight; Thread; PN 10 | 1
3712-01.000 |  |  | V-exact II 10(3/8"); Straight; Thread | 1
42450-137250 |  |  | TA-BTV DN50; Fully lugged; Flange; PN 16 | 2
50007-720 |  |  | STK 20; Straight; Thread; PN 16 | 1
51060-010 |  |  | TA 60 DN10; Standard; Thread; PN 16 | 1
52 009-528 |  |  | ACCXS_28; Soldering connection | 2
52143-100 |  |  | Protection cap; For TA-COMPACT-P/-DP, TA-Modulator (DN15-20), TBV-C/-CM, KTCM 512. | 1
52144-125 |  |  | TBV-CM 25NF; Kvs = 4; Standard; Thread | 1
52164-025 |  |  | TA-Compact-P 25; Standard; Thread male | 1
52164-100 |  |  | Tamper proof cover; 5 sets/package with plastic cover and locking ring for valves with connection (M30x1,5) to thermostatic head/actuator. | 1
52164-220 |  |  | TA-Compact-DP 20; Standard; Thread male | 1
52164-225 |  |  | TA-Compact-DP 25; [5000-16222] Pa; Standard; Thread male | 2
52164-315 |  |  | TA-Modulator 15; Standard; Thread male | 1
52164-320 |  |  | TA-Modulator 20; Standard; Thread male | 2
52164-332 |  |  | TA-Modulator 32; Standard; Thread male | 1
52164-950 |  |  | Presetting tool; This tool gives a better grip and make it easier to set the valve. | 1
52176-132&51064-032 |  |  | MD 11 DN32; PT 90; Thread; PN 20 | 1
52179-006 |  |  | Self-sealing measuring point extension; Length 60 mm. Can be installed without draining of the system. | 3
52179-016 |  |  | Extension for measuring point M14x1; Length 71 mm. Suitable when insulation is used. | 2
52186-065 |  |  | STAF* 65; Standard; Flange; PN 16 | 1
52186-090 |  |  | STAF* 100; Standard; Flange; PN 16 | 2
52265-015 |  |  | STAP 15; [10000-60000] Pa; Standard; Thread; PN 16 | 1
52265-202 |  |  | Draining kit 3/4"; Can be installed during system operation. | 1
52265-209 |  |  | Capillary pipe connection with shut-off DN20-DN50; For replacement of existing measuring point on STAF/STAF-SG, DN 20 to 50. | 1
52757-907 |  |  | Adapter 07; Adapter for TA-Slider 750/1250, TA-MC 100 actuators | 1
52759-115 |  |  | Conn. Piece: Thread male, 15 (1/2") | 2
52849-025 |  |  | STS* 25; Without drain; Thread; PN 25 | 1
52849-615 |  |  | STS* 15; With drain 3/4"; Thread; PN 25 | 1
52849-620 |  |  | STS* 20; With drain 3/4"; Thread; PN 25 | 1
52851-015 |  |  | STAD* 15; Without drain; Thread; PN 25 | 1
52851-020 |  |  | STAD* 20; Without drain; Thread; PN 25 | 5
52851-025 |  |  | STAD* 25; Without drain; Thread; PN 25 | 1
52851-040 |  |  | STAD* 40; Without drain; Thread; PN 25 | 2
52851-050 |  |  | STAD* 50; Without drain; Thread; PN 25 | 2
52851-620 |  |  | STAD* 20; With drain 3/4"; Thread; PN 25 | 1
52865-004 |  |  | STAP 25(10-60) + STAD* DN25 (Set) | 1
60230-215 |  |  | CV 216 RGA DN15; Kvs = 1.25; Standard; Thread | 1
60330-115 |  |  | CV 316 RGA DN15; Kvs = 0.63; Standard; Thread | 1
60330-120 |  |  | CV 316 RGA DN20; Kvs = 5; Standard; Thread | 1
61055-003 |  |  | TA-MC 55Y; Actuating force = 600 N; Power Supply = 24 VAC; Relay type = No relay | 3
68401-080 |  |  | ACB 1; Flap: Stainless steel / Seat ring: EPDM | 1
7300-00.500 |  |  | WK Head; Setting range : 6 °C - 28 °C; Capillary length : - ; Hysteresis : - ; Frost protection : 6 °C | 1
811 1520 |  |  | TV 4.2 EH (Degassing/Pump); PN 10 | 4
713 1001 |  |  | TU 300 (Primary vessel); Standard | 2
710 3005 |  |  | SD 50.10 (Buffer vessel); Standard; PN 10 | 4
| 535 1434 |  | DLV 20; Lockshield valve DLV, female thread on both sides, flat sealing union for direct connection to expansion vessel. | 5
813 3330 |  |  | P AB5 R (Make-up water); PN 10 | 4
813 3230 |  |  | Refill 48000 (Softening); Standard; PN 6 | 4