## Radiator sets (1)
Selected radiator sets | Selected radiator sets | Selected radiator sets | Selected radiator sets | Selected radiator sets | Selected radiator sets | Selected radiator sets | Selected radiator sets | Selected radiator sets | Selected radiator sets | Selected radiator sets | Selected radiator sets
#1 | #2 | Water | Product | Technical Info | Radiator Info | Article N° | Pipe | Qty |  |  | §
Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection) | Radiator sets (from individual selection)
|  | Water Temperature: 6 °C | Calypso 15(1/2") | 0.00028 m3/s |  | ****-**.*** | Steel DIN 2440, ISO 65 | 1
|  |  | 15 (1/2") | Dp = 160228 Pa |  | (deleted) | 25
|  |  | Rad. union/Thread | Avail. Dp unknown |  |  | 0.478 m/s
|  |  | Straight |  |  |  | 145 Pa/m
PN 10; 2/120 °C
|  |  | K Head | - |  | 7020-00.500 |  | 1
Security ring/With zero position
Setting range : 0 °C - 28 °C
Capillary length : -
Hysteresis : 0.2 K
Max. Temp. : 100°C
|  |  | TRIM 10 | 0.00028 m3/s |  | 50696-122 |  | 1
|  |  | 10 (3/8") | Dp = 123131 Pa
|  |  | Swiv. nut/Thread male | Setting = 4.5*
Straight
PN 16; -10/120 °C
|  | Water Temperature: 6 °C | V-exact II 20(3/4") | 0.00028 m3/s |  | 3711-03.000 | Steel DIN 2440, ISO 65 | 1
|  |  | 20 (3/4") | Dp = 222763 Pa |  |  | 25
|  |  | Rad. union/Thread | Setting = 8* |  |  | 0.478 m/s
|  |  | Angle | Avail. Dp unknown |  |  | 145 Pa/m
PN 10; -10/120 °C
|  |  | B Head | - |  | 2500-00.500 |  | 1
Setting 1 to 5
Setting range : 8 °C - 28 °C
Capillary length : -
Hysteresis : 0.2 K
Max. Temp. : 100°C
|  |  | TRIM 10 | 0.00028 m3/s |  | 50696-122 |  | 1
|  |  | 10 (3/8") | Dp = 123131 Pa
|  |  | Swiv. nut/Thread male | Setting = 4.5*
Straight
PN 16; -10/120 °C
|  | Water Temperature: 6 °C (1) | A-exact 15(1/2") | 2.778e-5 m3/s |  | ****-**.*** | Steel DIN 2440, ISO 65 | 1
|  |  | 15 (1/2") | Setting = 10 |  | (deleted) | 10
|  |  | Rad. union/Thread | Dpmin =15000 Pa |  |  | 0.226 m/s
|  |  | Angle | Flow range = [2.778e-6;4.167e-5] m3/s |  |  | 68.3 Pa/m
PN 10; 10/90 °C
|  |  | K Head | - |  | ****-**.*** |  | 1
|  |  | Chrome |  |  | (deleted)
Setting range : 6 °C - 28 °C
Capillary length : -
Hysteresis : 0.2 K
Max. Temp. : 100°C
|  |  | TRIM 10 | 2.778e-5 m3/s |  | 50696-122 |  | 1
|  |  | 10 (3/8") | Dp = 1253 Pa
|  |  | Swiv. nut/Thread male | Setting = 4.5*
Straight
PN 16; -10/120 °C
|  | Water Temperature: 6 °C | Thermostatic insert VHF | 2.778e-5 m3/s |  | ****-**.*** | Steel DIN 2440, ISO 65 | 1
|  |  | 15 (1/2") | Dp = 10014 Pa |  | (deleted) | 10
|  |  | Thread male G1/2 | Setting = 6* |  |  | 0.226 m/s
|  |  | Straight | Avail. Dp unknown |  |  | 68.3 Pa/m
PN 10; -10/120 °C
|  |  | DX Head | - |  | ****-**.*** |  | 1
|  |  | RAL 7035 light grey |  |  | (deleted)
Setting range : 6 °C - 28 °C
Capillary length : -
Hysteresis : 0.3 K
Max. Temp. : 100°C
|  |  | Vekotec (G 3/4) | 2.778e-5 m3/s |  | ****-**.*** |  | 1
|  |  | 20 (3/4") | Dp = 661 Pa |  | (deleted)
Thread male G3/4
Angle
PN 10; -10/120 °C

## Article list (2)
Article list | Article list | Article list | Article list | Article list | Article list | Article list
Article N° |  |  | Description | Qty
****-**.*** (deleted) |  |  | Vekotec (G 3/4); Angle; 4; PN 10 | 1
****-**.*** (deleted) |  |  | DX Head; Setting range : 6 °C - 28 °C; Capillary length : - ; Hysteresis : 0.3 K; Frost protection : 6 °C | 1
****-**.*** (deleted) |  |  | Thermostatic insert VHF; Straight; 2; PN 10 | 1
****-**.*** (deleted) |  |  | K Head; Setting range : 6 °C - 28 °C; Capillary length : - ; Hysteresis : 0.2 K; Frost protection : 6 °C | 1
****-**.*** (deleted) |  |  | A-exact 15(1/2"); Angle; Thread; PN 10 | 1
****-**.*** (deleted) |  |  | Calypso 15(1/2"); Straight; Thread; PN 10 | 1
2500-00.500 |  |  | B Head; Setting range : 8 °C - 28 °C; Capillary length : - ; Hysteresis : 0.2 K; Frost protection : 8 °C | 1
3711-03.000 |  |  | V-exact II 20(3/4"); Angle; Thread; PN 10 | 1
50696-122 |  |  | TRIM 10; Straight; Thread male; PN 16 | 3
7020-00.500 |  |  | K Head; Setting range : 0 °C - 28 °C; Capillary length : - ; Hysteresis : 0.2 K; Frost protection : 6 °C | 1